CSIR-INSTITUTE OF MICROBIAL TECHNOLOGY

Sector 39-A, CHANDIGARH – 160036 (INDIA)

Phone : 0172-2690542/2636680-85 Ext. 116

Fax : 2690632/2690585, Email : ao@imtech.res.in

EXPRESSION OF INTEREST

(Advt. No.5/2013)

EOI is invited on behalf of the Director, IMTECH for submission of Technical proposals, Presentation and Design/Drawing etc., for the establishment of a process scale Cell Culture Facility with at least two independent work flows including media preparation and sterilization rooms, inoculum development facility, production facility with capacity of 20 L - 20 L pilot fermenter scale, cell separation and purification facility, storage and quality control for products based on mammalian cell lines such as CHO and hybridoma. The facility will ensure all steps of discovery, validation and production of bio-therapeutic molecules. Under this, a state-of-art Tissue culture GMP Facility is envisaged to carry out the production of recombinant proteins/ peptides from animal/ mammalian cell culture based expression and purification of therapeutic proteins/ peptides. Some of the above said requirements may be shared between two units as mentioned above in case of space constraint. The facility should be as per cGMP norms and validation compatible, EC and US FDA norms. The above said facility is to be accommodated in an area of about 60 ft X 30 ft in top floor of an existing modern building. Besides this area, an equivalent area for installing AHUs and other utilities on the top of this building (roof) is available. Some examples on requirements: 2 inoculum rooms along with inoculum fermenters (2 – 5 L scale), One or more Pilot Scale Fermentation (20 L – 40L) suites, 2 purification suites including one Virus minus purification room, Material Filling room/ chamber, Cold room.

Before presentation the parties should visit the site for an on the spot check on available area/ facilities, prepare and submit technical proposals along with drawing(s), bill of quantities with specifications, a tentative budgetary offer and its company profile and make presentations accordingly by the due date.

Pre-qualification criteria:

1. The Firm should possess PF and ESI registration with respective Regional Provident Fund Commissioner and Regional Director ESI Corporation in force. The relevant Assessment order/IT certificate should be attached.

2. The Firm should have in-house experience for at least 5 years in design, engineering, installing, testing, commissioning and validation at site of modular pre-fabricated clean room HVAC systems, HEPA Filters, Industrial Air filters, Modular Clean Rooms, air Handling Units etc. for similar applications. The firm should produce certificates/purchase orders to this effect along with tender request.

3.  The firm should have executed at least three similar jobs on turnkey basis in Govt/ Govt undertaking/ public Sector Units/ Reputed Biotech/ Pharma companies with established therapeutic proteins/ vaccine products during the last 3 years with minimum value of Rs.1.00 crore. The completion certificates from the clients should be provided.

4. The Firm should have the capability for validating the facility as per the USFDA/ EC guidelines and preparing full documentation on the same.

5. The Firm should have minimum turnover of Rs.9.00 crores during last three years and should submit supporting documents on the same.

The Institute has the discretion to call either all the parties or selective few for presentation/demonstration.

Last date of sending EOI:   20/09/2013 up to 3.00 pm.

Opening of Technical proposals:   20/09/2013 at 3.30 pm

Date of presentation:	   27/09/2013 at 10.30 am.

Sr. Superintending Engineer (Civil)