INSTITUTE OF MICROBIAL TECHNOLOGY (IMTECH)

(Council of Scientific & Industrial Research)

Sector 39-A, Chandigarh- 160036 (India)

Phone: 0091-172-2690056/2636680-85. Ext. 363 Fax: 2690585/2636683

E.mail: purchase@imtech.res.in

EXPRESSION OF INTEREST

(Advt. No.Pur-81/2016)

CSIR-IMTECH intend to procure a static/dynamic light scattering system with associated (dn/dc) device for protein research. Interested manufacturers and authorized distributors may attend pre-indent conference at Conference Room of Protein Centre, IMTECH on or before December 30, 2016 in consultation with Dr. Barnali Chaudhuri, Convener, E.mail: bchaudhuri@imtech.res.in or Mr. Mohinder Kumar, SPO, spo@imtech.res.in. Interested parties should bring latest technical proposals, presentation and demonstration.

After technical discussions, presentations and deliberation, final specifications will be drawn for further processing through global tender basis.

EXPRESSION OF INTETREST FOR STATIC/DYNAMIC LIGHT SCATTERING AND RI DEVICE

PREAMBLE AND INTRODUCTION

MIL at the GNR Protein Centre at CSIR-Institute of Microbial Technology (IMTECH) supports the research requirements of the faculty and students.

Through this Expression of interest (EoI), CSIR-IMTECH is inviting technical proposal from manufacturers/authorized distributors for a light scattering (static/dynamic) and (dn/dc) device for the above facility.

SCOPE OF WORK

Initial technical requirements are given below:

Multi Angle Static Light Detector coupled to a Differential Refractive Index Detector and a Dynamic Light Scattering module compatible with commercially available protein purification systems, with capability to provide absolute molecular mass, Stokes radius and (dn/dc) for proteins of varied size. Required accessories including software must be provided. Both “batch mode” and “in-line with chromatography” options should be possible. Technical brochures highlighting all described features and support literature should be presented.

Date of  EOI: on or before 30-12-2016