INSTITUTE OF MICROBIAL TECHNOLOGY

Sector 39-A, Chandigarh -160036

Tele Fax: 0091-172-2636683

Email: purchase@imtech.res.in

Open/Global Tender Notice No: 75

Director, CSIR,  IMTECH invites tenders from reputed Indian/foreign manufacturers and authorized dealers for the supply of the following item(s) under two bid systems:

| SN. | TENDER NO. | ITEM | QTY | EMD (In Rs.) |
| --- | --- | --- | --- | --- |
| 1. | PUR/2015-16/IND38212 | Installation, commissioning and configuration of Local Area Network(LAN) at CSIR-IMTECH CAMPUS | One | 124000/- |
| 2. | PUR/2015-16/IND38260 | Nanolitre-volume Dispensing Protein Crystallization Robot 1 | One | 100000/- |

The detailed Tender Documents with complete terms & conditions with technical specifications are available on our website http://www.IMTECH.res.in

Last date of receipt of complete tenders is  11.01.2016 up to 5.00 PM. (IST).

The date of opening of technical bids is  12.01.2016 at 11.00 AM. (IST) onwards.

(MOHINDER KUMAR)

Stores & Purchase Officer

# INSTITUTE OF MICROBIAL TECHNOLOGY

Sector 39-A, Chandigarh

Chandigarh-160036.

Tele Fax: 91-172-2636683                                                                                                                               Email: purchase@imtech.res.in

## Open/Global Tender Notice No.75

Dated:  21.12.2015

## Director, CSIR, IMTECH invites tenders in closed/sealed covers with wax/cello tape/ company seal from the reputed Indian/foreign manufacturers or sole authorized dealers/distributors for the supply of the following item(s):

| SN. | TENDER NO. | ITEM | QTY | EMD (In Rs.) |
| --- | --- | --- | --- | --- |
| 1. | PUR/2015-16/IND38212 | Installation, commissioning and configuration of Local Area Network(LAN) at CSIR-IMTECH CAMPUS | One | 124000/- |
| 2. | PUR/2015-16/IND38260 | Nanolitre-volume Dispensing Protein Crystallization Robot 1 | One | 100000/- |

Interested parties may download the tender documents directly from the website free of cost & submit them without depositing any tender fee. Both the bids i.e. the Technical & Price bids must be submitted on or before  11.01.2016 up to 5.00 P.M  along with EMD.

All the bids except the price bids of two bid system will be opened on  12.01.2016 at 11.00 AM. Onwards in the presence of the bidders, who wish to be present. The Director, IMTECH, reserves the right to accept/reject any offer in part or full without assigning any reason.

*TB – Two Bid Tender System,

SB – Single Bid Tender System

(MOHINDER KUMAR)

STORES & PURCHASE OFFICER

Technical Specifications:

(1 ) No.2015-16/IND 38294

(1) TENDER FOR INSTALLATION, COMMISSIONING AND CONFIGURATION OF LOCAL AREA NETWORK (LAN) AT CSIR-IMTech CAMPUS

Institute of Microbial Technology (IMTech) is a premier research institution of CSIR. All major locations including residential area and hostels are connected with Local Area Network. Bioinformatics Centre manages its Data Centre and high performance computing facility. The centre is supported by redundant un-interrupted power supply and high capacity precision cooling system for computing facility.

Through this Tender, CSIR-IMTech is inviting Technical Bid & Financial Bid from potential Original Equipment Manufacturers (OEMs) and/or authorized channel partner or agents and system integrators for LAN solution. Authorized channel partner or agents or system integrators or OEM will be referred to as vendor. OEMs/Vendors who have experience in providing solutions of Local Area Network including wireless network solution with special reference to research institutions are welcome to participate.

- Scope of Work

- CSIR-IMTech is inviting turnkey solution from vendors for establishing local area network (LAN) i.e. supply, laying, fixing, installation, testing and commissioning of switches, wireless controller, indoor access points, OFC backbone, UTP cable, racks, other related accessories and software etc. as per specifications outlined in “Annexure-3”. This includes establishment of centralized network management system (NMS) for this LAN. A list and quantity of items required for this turnkey local area network solution is given in “Annexure-1”. The network connectivity diagram between different locations at IMTech is presented in “Annexure-2”. Requisite number of data and wi-fi points as per “Annexure-1” is to be laid and fixed. The location of these will be provided during the course of work.

- Integration of newly laid LAN solution needs to connect all existing servers, PCs, Wi-Fi devices, firewall etc., including VLAN, IP addressing and gateways etc. at CSIR-IMTech campus. In other words, existing OFC, switches, Wi-Fi, DSLAM’s, switches etc. must be used to give complete the connectivity.

- Vendor should provide logs, soft copy of configurations, provisioning for regular backup of logs, database etc. of switches, WLC, APs and NMS, wherever applicable. Storage space for logs and backup will be provided by IMTech.

- Vendor should provide documentation along with diagram(s) of configuration and procedure of installation for VLANs and IP addressing, logs, backup etc. for switches, WLC, APs, NMS, wired and wireless user-devices etc.; Documentation must include commands used etc. along with all steps including captured text and screen shots during installation or setting up of configuration. Provide us with documentation and diagram of physical and logical connectivity.

- Labeling or Tag-Ids of all racks, switches, WLC and APs, data and Wi-Fi I/O’s at both ends, OFC uplink and downlink etc. is to be carried out by the vendor. Location and tag-ids are to be mentioned in corresponding diagrams etc. given in documentation.

- Vendor should provide list in tabular format of all the switches, WLC, APs and transceivers and NMS mentioning model, make, serial numbers, part number, latest firmware and version, latest OS and version, MAC addresses and IP addresses along with corresponding labeling or Tag-Ids of devices etc.

- Vendor should provide information regarding online registration of the quoted goods of respective Makes, wherever possible.

- All switches, WLC, APs and NMS should be updated to the latest Firmware/OS and version etc.

- OFC and UTP cable laying and fixing along with fixing of racks should be carried out in consultation with engineering department of IMTech with no or minimum damage to premises. Vendor shall be responsible for any damage to the buildings, floors etc. caused during this project and will need to fix the same. All tools and implements viz ladder, support, drill machine etc have to arranged by the vendor itself. Aesthetics and symmetry are to be considered while establishing this solution at the campus.

- Penta scanning should be done at minimum of 250 MHz for CAT-6 and at minimum of 500 MHz for CAT-6A cable. The report should be submitted in .FLW format.

- Vendor shall provide training along with live demonstrations to technical staff of CSIR-IMTech with regard to installation, configuration, operation, management and monitoring of this solution including NMS.

- Pre-Qualifications criteria for vendor:

- Vendor should be in existence for last 5 years in the field of information technology and networking. The support facilities should be fully owned by the vendor and managed by their own employees and not through third party. Vendor must certify these while submitting tender.

- Vendor must have successfully executed two orders for establishing networks, amounting to minimum of INR 50 Lakhs during last three financial years (FY 12-13, FY 13-14, FY 14-15). Documentary proof of the same should be attached.

- Terms and Conditions for Payment:

- Payments will be made on as per actual basis in case of laying and fixing of cables such as OFC, CAT6/6A, conduit, HDPE pipes, flexible etc.

- CSIR-IMTech may increase or decrease quantity by 10% at the time of order.

- In financial bid, Taxes such as VAT, sales tax etc. should be separately and clearly mentioned against the items, wherever applicable.

- General Terms and Conditions:

- The offered items in solution shall be of latest version and should not be end of line or support for next 5 years. A certificate from OEM in this regard may be submitted by vendor.

- Authorization letter from Original Equipment Manufacturer (OEM) in favor of authorized Agent / channel partner / system integrators to bid, negotiate, supply of equipment etc., conclude the order against this tender must be enclosed with technical bid.

- Completion certificate will be issued after successfully functioning of system for continuous 10 days i.e. after handing over the working solution to IMTech. The warranty will begin from the date of completion and acceptance.

- Onsite engineer support must be provided on next business day for the total solution for three years.

- Vendors can quote items only from Makes i.e. (a) for Switches and related components: Cisco, Dell, Brocade and HP; (b) for Wi-Fi components: Ruckus, Cisco, Dell and HP; and (c) for passive such as cables and related components: Systimax, Schneider and Molex.

- A vendor can provide one LAN solution in which only one Make each for switches, Wi-Fi devices and for passive components (such as cables, patch cords, I/O, patch/jack panel, LIOU, face plate and pigtails etc) can be included.

- The vendor should quote for the complete turnkey solution specified in the tender document. Partial solution will not be accepted.

- Vendor must provide BOQ list in tabular format for all the switches, WLC, APs, transceivers, NMS and passive components mentioning model number, make, quantity etc. for this solution in the technical bid.

- Wireless controller and APs should be of same Make. Quoted switches should have compatibility with WLAN system.

- Vendors will have to show cable markings/numbering, cable length-marks on cables to our staff.

- The licensing policies, wherever required must be mentioned clearly.

- Solution must support zero configurations on end-user device (e.g. DHCP). It should be able to provide network and internet access to any device which is Wi-Fi enabled. The user can access the internet on any of their smart devices such as Smart Phones, Laptops and Tablets etc. regardless of software browser and operating system.

- Vendor must clearly state the name of firm responsible for system integration, support and maintenance of LAN solution on their letterhead. Pre-qualification criteria will be applicable to this firm as stated above (Point 2).

- Vendors must show compliance for scope of work, pre-qualification criteria for vendor, payment & general terms and conditions as stated above, all specifications as per Annexure-3, quantity of items as per Annexure-1, along with documents asked for in this tender. A statement in this regard must be submitted by the vendor showing compliance as well as deviations, if any, for the points stated above. Vendor needs to highlight (green/cyan in color) the details of specifications in technical literature showing compliance to those given in tender document/s mentioning corresponding number as per compliance sheet. No response shall be considered as non-compliance.

|  | QUANTITIES OF ITEMS, (Specifications as per "Annexure-3") Note : NOS here reffered to as numbers |  | "Annexure-1" |  |
| --- | --- | --- | --- | --- |
| S.NO | Supply installation testing and commissioning of following Items. | UOM | QTY |  |
|  | Switches and related components of Make: Cisco, Dell, Brocade and HP |  |  |  |
| 1 | Type 1 Switch (Core) | NOS | 4 |  |
| 2 | Type 2 Switch | NOS | 7 |  |
| 3 | Type 3 Switch | NOS | 7 |  |
| 4 | Type 4 Switch | NOS | 3 |  |
| 5 | NMS | NOS | 1 |  |
| 6 | 10G LR SMF Transceiver | NOS | 42 |  |
| 7 | 1G LX SFM Transciever | NOS | 4 |  |
| 8 | 1G SX MMF Transceiver | NOS | 20 |  |
| 9 | 1G BaseT RJ45 Transceiver | NOS | 24 |  |
|  | Wi-Fi and related components of Make: Ruckus, Cisco, Dell and HP |  |  |  |
| 1 | Controller in High Availability active active mode | NOS | 1 |  |
| 2 | AP Indoor | NOS | 30 |  |
|  | Passive and related components (such as cables, patch cords, I/O, patch/jack panel, LIOU, face plate and pigtails etc) of Make: Systimax, Schneider and Molex. |  |  |  |
|  | UPLINKS FOR WIRELESS ON CAT 6A U/FTP or F/UTP |  |  |  |
|  | TOTAL WI-FI POINTS | NOS | 76 |  |
| 1 | CAT 6A U/FTP or F/UTP CABLE | METERS | 4000 |  |
| 2 | SHIELDED INFORMATION OUTLET CAT6A DISTRIBUTION RACK SIDE | NOS | 76 |  |
| 3 | SHIELDED INFORMATION OUTLET CAT6A ACCESS POINT SIDE | NOS | 76 |  |
| 4 | PATCH PANEL 24 PORT UNLOADED CAT 6A | NOS | 15 |  |
| 5 | PATCH CORD U/FTP or F/UTP 0.5 METERS ACCESS POINT SIDE | NOS | 76 |  |
| 6 | PATCH CORD U/FTP or F/UTP 1.0 METERS DISTRIBUTION RACK SIDE | NOS | 76 |  |
| 7 | FACE PLATE SINGLEX WITH BACK BOX | NOS | 76 |  |
|  | DATA POINTS ON CAT 6 U/UTP |  |  |  |
|  | TOTAL DATA POINTS | NOS | 385 |  |
| 1 | CAT 6 U/UTP CABLE | METERS | 15250 |  |
| 2 | UTP INFORMATION OUTLET CAT6 RACK SIDE | NOS | 385 |  |
| 3 | UTP INFORMATION OUTLET CAT6 FIELD SIDE | NOS | 385 |  |
| 4 | PATCH PANEL 24 PORT UNLOADED CAT 6 | NOS | 26 |  |
| 5 | PATCH CORD UTP 0.5 METERS RACK SIDE | NOS | 385 |  |
| 6 | PATCH CORD UTP 2.0 METERS FIELD SIDE | NOS | 385 |  |
| 7 | FACE PLATE SINGLEX WITH BACK BOX | NOS | 385 |  |
| 8 | CAT6 Outdoor Cable | METERS | 915 |  |
|  | FIBER |  |  |  |
| 1 | FIBER CABLE 12 CORE SM | METERS | 3000 |  |
| 2 | LIU UNLOADED 24 PORT WITH SPLICE TRAY COLLED ROLLED STEEL SLIDING DRAWER | NOS | 19 |  |
| 3 | 12 FIBER LC ADAPTOR PLATE WITH 6 DUPLEX LC ADAPTORS SINGLE MODE | NOS | 38 |  |
| 4 | LC PIGTAIL SINGLE MODE 1.5/2 METER | NOS | 456 |  |
| 5 | LC -LC PATCH CORDS 3 METER | NOS | 68 |  |
| 6 | BLANK PLATE FOR VACANT CUTOUTS IN LIU | NOS | 38 |  |
|  | Others |  |  |  |
| 1 | 45 U Rack | NOS | 2 |  |
| 2 | 15 U Rack | NOS | 16 |  |
| 3 | HDPE DUCT 40/32mm Orange Colour ISI Marked | METERS | 200 |  |
| 4 | PVC PIPE 32mm ISI Marked with accessories (eg. saddle, screw, bends etc) | METERS | 7500 |  |
| 5 | Fiber Route Marker | NOS | 4 |  |
|  | SERVICES (TENTATIVE QUANTITY) WILL BE AS PER ACTUALS ONLY. |  |  |  |
| 1 | Laying and fixing of UTP cable | METERS | 15250 |  |
| 2 | Laying and fixing of STP cable | METERS | 4000 |  |
| 3 | Laying and fixing of OFC cable | METERS | 3000 |  |
| 4 | Laying and fixing of PVC pipe | METERS | 7500 |  |
| 5 | Termination of IO on pannel and Face Plate with labeling | NOS | 922 |  |
| 6 | Laying and fixing of HDPE Duct | METERS | 200 |  |
| 7 | Splicing of OFC per core | NOS | 456 |  |
| 8 | OTDR of OFC Points from both sides | NOS | 456 |  |
| 9 | Installation & Dressing of Rack and labeling | NOS | 18 |  |
| 10 | Fiber Route Marker | NOS | 4 |  |
| 11 | Digging of soft soil at a depth of 3 Ft for laying of HDPE and OFC | METERS | 140 |  |
| 12 | Digging of hard soil at a depth of 3 Ft for laying of HDPE and OFC | METERS | 20 |  |
| 13 | Penta Scanning Report and submit the same in FLW format at 250MHz for CAT6 and at 500MHz for Cat6A | NOS | 1 |  |

|  | "Annexure-3" |
| --- | --- |
| Sl. No. | Description |
| SWITCH of Make - Cisco, Dell, Brocade and HP |  |
| A | Type 1 Switch |
| 1 | Rack mountable switch with minimum of 16x 1G BaseX SFP Ports, 8x 10G BaseX SFP+ ports from day 1. Switch & transceiver should be from same Make. |
| 2 | All the above asked ports should be non-blocking and wire-speed for 64 byte or more size of packets. |
| 3 | Switch should have dedicated stacking ports with minimum 240Gbps or more of stacking bandwidth (in addition to above asked ports and bandwidth) to put minimum 8 switches into a single stack group. All the stacking ports and cables should be proposed from day 1. |
| 4 | Should have redundant internal power supplies and redundant fans. |
| 5 | Should have IPv6 Static routes, OSPFv3, PIM Sparse / Dense mode (SM /DM), Policy-based routing (PBR), Virtual routing and forwarding (VRF), BGP and Netflow/Jflow/Sflow from day one. |
| 6 | Should support 802.1d, 802.1s, 802.1w & 802.3ad layer 2 protocols |
| 7 | Should have minimum of 4MB or more of packet buffer size |
| 8 | Should have 2500 IPv6 Routes, 32K MAC Address, 8K IGMP Groups, 4K active VLAN's and 8 hardware queues per port |
| 9 | Should support minimum of 100 LAG / Etherchannel groups |
| 10 | Should support Port Security, Dynamic ARP Inspection, BPDU and Root Guard security features |
| 11 | Should support enterprise class CLI for detailed configuration & administration, console, Telnet, SSH and Web Management |
| 12 | Should support DHCP Server, MAC Binding, MAC Filtering |
| 13 | Should support RADIUS / TACACS, 802.1x, SNMP versions 1, 2, and 3, RMON and NTP |
| 14 | Warranty - three years comprehensive directly from OEM. |
| B | Type 2 Switch |
| 1 | Rack mountable switch with minimum of 24 x 10/100/1000 BaseT RJ45 POE+ ports plus additional 2x 10G BaseX SFP+ ports from day 1. Switch & transceiver should be from same Make. |
| 2 | All the above asked ports should be non-blocking and wire-speed for 64 byte or more size of packets. |
| 3 | Should support dedicated stacking ports with minimum of 80 Gbps or more stacking bandwidth to put minimum 8 switches into a single stack group (in addition to above asked ports and bandwidth). |
| 4 | Should support Static Routes, OSPF, VRRP as and when required without replacing the proposed hardware |
| 5 | Should support 802.1d, 802.1s, 802.1w & 802.3ad layer 2 protocols |
| 6 | Should have minimum of 2MB or more of packet buffer size |
| 7 | Should have 1000 IPv6 Routes, 16K MAC Address, 1K IGMP Groups, 1K active VLAN's and 8 hardware queues per port |
| 8 | Should support minimum of 48 LAG / Etherchannel groups |
| 9 | Should have NetFlow / Jflow/ sFlow from day one |
| 10 | Should support enterprise class CLI, console, Telnet, SSH and Web Management |
| 11 | Should support DHCP Server, MAC Binding, MAC Filtering |
| 12 | Warranty - three years comprehensive directly from OEM. |
| C | Type 3 Switch |
| 1 | Rack mountable switch with minimum of 48 x 10/100/1000 BaseT RJ45 POE+ ports plus additional 2x 10G BaseX SFP+ ports from day 1. Switch & transceiver should be from same Make. |
| 2 | All the above asked ports should be non-blocking and wire-speed for 64 byte or more size of packets. |
| 3 | Should support dedicated stacking ports with minimum of 80 Gbps or more stacking bandwidth to put minimum 8 switches into a single stack group (in addition to above asked ports and bandwidth). |
| 4 | Should support Static Routes, OSPF, VRRP as and when required without replacing the proposed hardware |
| 5 | Should support 802.1d, 802.1s, 802.1w & 802.3ad layer 2 protocols |
| 6 | Should have minimum of 4MB or more of packet buffer size |
| 7 | Should have 1000 IPv6 Routes, 16K MAC Address, 1K IGMP Groups, 1K active VLAN's and 8 hardware queues per port |
| 8 | Should support minimum of 48 LAG / Etherchannel groups |
| 9 | Should have NetFlow / Jflow/ sFlow from day one |
| 10 | Should support enterprise class CLI, console, Telnet, SSH and Web Management |
| 11 | Should support DHCP Server, MAC Binding, MAC Filtering |
| 12 | Warranty - three years comprehensive directly from OEM. |
| D | Type 4 Switch |
| 1 | Rack mountable switch with minimum of 24 x 10/100/1000 BaseT RJ45 POE+ ports plus additional 2x 1G BaseX SFP ports from day 1(shall be upgradable to support 10G BaseX SFP+ in future). Switch & transceiver should be from same Make. |
| 2 | All the above asked ports should be non-blocking and wire-speed for 64 byte or more size of packets. |
| 3 | Should support dedicated stacking ports with minimum of 80 Gbps or more stacking bandwidth to put minimum 8 switches into a single stack group (in addition to above asked ports and bandwidth). |
| 4 | Should support Static Routes, OSPF, VRRP as and when required without replacing the proposed hardware |
| 5 | Should support 802.1d, 802.1s, 802.1w & 802.3ad layer 2 protocols |
| 6 | Should have minimum of 2MB or more of packet buffer size for traffic to support huge file transfers |
| 7 | Should have 1000 IPv6 Routes, 16K MAC Address, 1K IGMP Groups, 1K active VLAN's and 8 hardware queues per port |
| 8 | Should support minimum of 48 LAG / Etherchannel groups |
| 9 | Should have NetFlow / Jflow/ sFlow from day one |
| 10 | Should support enterprise class CLI, console, Telnet, SSH and Web Management |
| 11 | Should support DHCP Server, MAC Binding, MAC Filtering |
| 12 | Warranty - three years comprehensive directly from OEM. |
| NMS of Make - Cisco, Dell, Brocade and HP |  |
| E | Type 5: NMS |
| 1 | Centralized NMS needs be given to monitor or configure 50 switches and scalable to support up to 200 switches. The proposed NMS should be able to discover, configure, monitor, manage, and deploy configurations to dynamically update groups of switches. It must be able to generate reports designed to summarize utilization of and traffic patterns on network interfaces. |
| All Passive components (such as cables, patch cords, I/O, patch/jack panel, LIOU, face plate and pigtails etc) of Make: Systimax, Schneider and Molex. |  |
| CAT 6 |  |
| F | General Specifications for Passive CAT 6 Components |
| 1 | All Passive components should be from same Make except gang box and RJ 45 connectors, conduit, Racks |
| 2 | Cabling should have 20 years of performance warranty directly from OEM. |
| G | Category 6 U/UTP Roll of 305 Mtrs |
| 1 | Should be 4 pair, 23 AWG |
| 2 | Jacket: LSZH (Low smoke zero halogen) |
| 3 | Should be ETL verified. (Certificate Need to be provided along with the bid) |
| H | FACE PLATE |
| 1 | Single Gang square plate, 86mmx86mm |
| 2 | Material : ABS Plastic |
| 3 | Should be UL lIsted (UL Certificate to be attached along with Bid) |
| I | INFORMATION OUTLET CAT6 FOR RACK END, FIELD SIDE |
| 1 | Should have integrated Shutter or shutter to be provided on face plate |
| 2 | Should be UL Listed and ETL verified (ETL and UL certificate to be attached along with Bid) |
| J | 24 PORT JACK PANEL Loaded unloaded Cat6 |
| 1 | Should Be made of cold rolled steel |
| 6 | Should have labeling strips for identification. |
| 7 | Should have integral cold rolled steel cable management shelf. |
| 8 | Should be UL Listed (UL Certificate to be attached along with Bid) |
| K | Cat 6 MOUNTING CORDS (0.5, 1, 2 Mtrs) |
| 1 | Should be 4 Pairs 24 AWG copper cables. |
| 2 | Outer Jacke should be Low Smoke Zero Halogen (LSZH) |
| 3 | Should be UL Listed (UL Certificate to be Provided along with the Bid) |
| 4 | Should be verified by ETL individually for 0.5 meters to 2 meters (ETL certificates to be attached along with the Bid) |
| L | CAT 6 CABLE OUTDOOR |
| 1 | Cable Should be 4 pair CAT 6 U/UTP Outside plant category or Cat6 armored cable |
| 2 | Conductor Size : 23 AWG |
| 3 | Should have two Overall Jackets PRIMARY AND SECONDRY HDPE Jacket or Armored cable with HDPE Jacket |
| 4 | Should be suitable for outdoor installation |
| CAT 6A |  |
| M | General Specifications for Passive CAT 6A Components |
| 1 | Cat6 A Cabling Solution should be ETL Verified 4-Connector Channel to ISO/IEC 11801 AMD 1 Class EA, along with channel illustration, and parts numbers. (ETL certicate to be submitted along with the bid) |
| 2 | All passive components should be from same OEM except gang Box, Rack, RJ45 connectors |
| 3 | Cabling should have 20 years of performance warranty directly from OEM. |
| N | Category 6A , 4 Pair Shielded Cable |
| 1 | Cable Should be Category 6A 4 pair U/FTP or F/UTP |
| 2 | Conductor Size : 23 AWG |
| 3 | Sheath Type: Low Smoke Zero Halogen (LSZH) |
| 4 | Cable should be ETL verified (ETL certificate to be enclosed along with the bid) |
| 5 | Transmission Properties and Electrical Specifications tested minimum upto 500 Mhz and verified by ETL |
| O | Face Plate with Gang Box (Single , Dual and Quad) |
| 1 | Single Gang square plate, 86mmx86mm |
| 2 | Material : ABS Plastic |
| 3 | Should be UL listed (UL certificate to be attached along with the Bid ) |
| P | Shielded Cat 6A INFORMATION OUTLET Shielded |
| 1 | Category 6A |
| 2 | Should have robust die cast zinc alloy connector body housing |
| 3 | Should be UL Listed (UL certificate to be enclosed along with the bid) |
| Q | 24 PORT CAT6A JACK PANEL SHIELDED UNLOADED |
| 1 | Should be made from cold rolled steel |
| 2 | Have port identification numbers on the front of the panel. |
| 3 | Should have integrated rear cable management shelf. |
| 4 | Should have separate provision of grounding |
| 5 | Should be UL listed (UL certificate to be enclosed along with the bid) |
| R | MOUNTING CORDS – Cat 6 A shielded 0.5, 1, 2 mtrs |
| 1 | Should be 4 pair 26 AWG stranded copper wire |
| 2 | Factory pre-terminated with shielded RJ45 plugs and should be strain relief, anti-snag type |
| 3 | Outer Sheath: Low Smoke Zero Halogen (LS0H) |
| 4 | Should be UL listed (UL certificate to be enclosed along with the bid) |
| OFC Cable |  |
| S | General Specifications for Passive OFC Components |
| 1 | All Fiber Cable and its components should be from same Make |
| 2 | Cabling should have 20 years of performance warranty directly from OEM. |
| T | OPTICAL FIBER CABLE ARMORED SINGLE MODE 12 CORE - OS2 |
| 1 | Should be ISO.IEC 11801 - 2nd Edition, type OS2 and ITU-T REC G 652D |
| 2 | Tube Idenification : Single tube/Multiple tube |
| 3 | Armouring : Corrugated Steel Tape Armour (ECCS Tape) |
| 4 | Strength Member: Two Steel wires on periphery/Two FRP rods on periphery /Central Strength Member (FRR Rod) |
| 5 | Sheath : UV Stabilized Polyethylene (HDPE) |
| 6 | Maximum. Tensile Strength-Short Term : 1400N or better |
| Network Rack |  |
| U | 15U Wall Mount Rack |
| 1 | Basic Structure: Welded construction with vent on top and bottom cover. Side integrated single section structure. With two fan mounting provision on top cover. |
| 2 | Front Door: Clear Glass Door with lock. |
| 3 | Dimension of Wall Mount: 600W X 765H (15U) x 600D |
| 4 | One Hardware mounting pack of 20 |
| 5 | One number of 19” PDU of 6 nos. 5 amp universal socket with 2 mtr. long power chord |
| 6 | Two number of 19” Cable Manager |
| 7 | Two number of Fan with 1 mtr. Long cable |
| 8 | Network rack manufacturer must be ISO 9001 & 14001 Certified (Copy of ISO 9001 & 14001 must be submitted with bid.) |
| V | 45U Open Rack |
| 1 | Basic Structure 600W, 2140H (45U) |
| 2 | Each Open Rack should include: 2 nos. 150x100x2000 H PVC cable manager Double sided |
| 3 | one number of Ladder Kit with cable loops |
| 4 | one number of 19” PDU of 6 nos. 5 amp universal socket with 2 meters long power chord |
| 5 | four numbers of 19” Cable Manager |
| 6 | Network rack manufacturer must be ISO 9001 & 14001 Certified (Copy of ISO 9001 & 14001 must be submitted with bid.) |
| Wi-Fi of Make - Ruckus, Cisco, Dell and HP |  |
| W | General Requirement for points X and Y of the specifications - Annexure-3 |
| 1 | All Wi-Fi component should be from same Make. |
| 2 | OEM should be in Wi-Fi business for at least 10 years and should be present in India for minimum 5 years. |
| 3 | WiFi should come with 3 years Comprehensive Warranty directly from OEM. |
| X | Wireless Controller Specifications |
|  | Essential Features |
| 1 | The WLC should have 4x 10/100/1000 RJ45 Ethernet Port for connecting to LAN |
| 2 | Controller should support 30 AP’s from day one and should be scalable for 400 or more AP's in future without adding any new hardware. Each WLC (primary and Redundant) should be able to support minimum 400 campus connected AP’s or more with support of seamless roaming access over L2/L3 network. |
| 3 | There should be 100% redundancy for primary controller i.e N: N for hardware as well all Licenses. In case primary controller goes down all features should be supported by redundant controller. |
| 4 | Each Controller should have capacity to handle minimum 2500 or more Concurrent devices. |
| 5 | Redundancy Features: WLC Must provide Active: Active with N+1 redundancy. The WLC’s shall be implemented in cluster. |
| 6 | Ability to map SSID to VLAN and dynamic VLAN support for same SSID. |
| 7 | Support automatic channel selection for interference avoidance. |
| 8 | External Captive Portal Integration - Web-services based API for external web-portals to integrate with the controller |
| 9 | WLC should support Hotspot 2.0 (pass point). |
|  | Auto Deployment of AP's at different locations |
| 10 | Access points can discover controllers on the same L2 domain without requiring any configuration on the access point. |
|  | Security & Monitoring |
| 11 | WIRELESS SECURITY & Authentication: Open, 802.1x/EAP, PSK, WISPr, WPA, WPA2-AES, WPA-TKIP, WEP,EAP-SIM, EAP-AKA over WLAN for 802.1x, Authentication through external Radius /Directory services. |
| 12 | WLC should support WIDS/WIPS for security including Rogue AP detection and containment, AP spoofing and Ad-Hoc detection, DOS attacks. |
| 13 | WLC Should support L2 Client Isolation so User cannot access each other’s devices. Isolation should have option to apply on AP or SSID's. |
| 14 | The proposed architecture should be based on controller based Architecture with thick AP deployment. While Encryption / decryption of 802.11 packets should be able to perform at the AP. |
| 15 | WLC should support OS/Device finger printing, Bandwidth rate limit, VLAN mapping. |
| 16 | WLC should be able to raise critical alarms by sending an email. The email client on the controller should support SMTP outbound authentication and TLS encryption. |
| 17 | Syslog support towards external syslog server |
|  | QoS features |
| 18 | per SSID or dynamic Per user bandwidth Rate Limiting |
| 19 | Self-healing (on detection of RF interference or loss of RF coverage) and vendor should provide their Interference mitigation techniques . |
| 20 | System must support Band Steering where 5 Ghz clients are forced to connect over 5Ghz Radio to provide better load balancing among 2.4Ghz and 5Ghz Radios. |
| 21 | WLC shall support Quality of Service features like 802.11e based QoS enhancements, WMM or equivalent and U-APSD to provide best performance on Video applications. |
|  | Client/Guest Management |
| 22 | WLC should provide a Guest Login portal in order to authenticate users that are not part of the organization. |
| 23 | Controller should be CE. FCC/UL certified. (Certificate to be attached along with Bid) |
| Y | Indoor AP Specifications |
| 1 | The APs should support the 802.11a, 802.11b, 802.11g and 11n and ac standards. It should also support 802.11ac standard in the 5 GHz band. |
| 2 | Operation in dual band radio is essential |
| 3 | Must support 3x3 multiple-input multiple output (MIMO) with aggregated throughput of 1750 Mbps (450 in 2.4 Ghz 1300 in 5 Ghz) |
| 4 | The access points should be centrally managed as well capacity to work as standalone. |
| 5 | Security mechanisms should be in place to protect the communication between the Access Point controller and the Access Points. |
| 6 | The access point should be able to detect clients that have dual band capability and automatically steer those client to use the 5GHz band instead of the 2.4GHz band. |
| 7 | The antennas to be dual polarised and should be integrated inside the access point enclosure to minimize damage and create a low profile unit that does not stand out visually. |
| 8 | The access point should support 802.1q VLAN tagging |
| 9 | The access point should support WPA2 enterprise authentication and AES/CCMP encryption. AP should support Authentication via 802.1X and Active Directory. |
| 10 | Implement Wi-Fi alliance standards WMM, 802.11d, 802.11h and 802.11e |
| 11 | Channel selection based on measuring throughput capacity in real time and switching to another channel should the capacity fall below the statistical average of all channels without using background scanning as a method. |
| 12 | Should support Transmit power tuning in 1dB increments in order to reduce interference and RF hazards |
| 13 | Device antenna gain (integrated) must be at least 3dBi. |
| 14 | Should be WiFi certified and WPC approved; ETA certificate to be enclosed |

(2) No.2015-16/IND 38260

Nanolitre-volume dispensing protein crystallization Robot

- The system should be capable of setting up hanging drop, sitting drop, microbatch, and Lipid Cubic Phase (LCP) crystallization experiments.

- The system should be able to dispense protein and reservoir solutions in the range of ≤50 nL to ≥1200 nL with coefficient of variation (CV) of 5% or less.

- System should use disposable tips for dispensing protein and crystallization screen solutions to have zero cross contamination.

- The system should be able to dispense protein/sample solutions of high viscosity such as 50 % or higher concentrations of Poly Ethylene Glycol (with average mol. mass of 4000 or higher) containing solutions.

- The system should not take more than 5 minutes to setup 96-well (single drop/well) sitting drop plate.

- The system should have humidity control mechanism for minimizing drop evaporation.

- The system should be compatible with different types of Society for Bimolecular Screening (SBS) format plates.

- The LCP module should be able to dispense ≤50 nL volume with dispensing variability less than 5% (< 5% CV) at 50 nL.

- The LCP mixer should be supplied along with the system.

- The system should be equipped with auto calibration for LCP module.

- Suitable OEM based computer should be supplied with latest and compatible widows based operating system having at least Intel Core i7 processor, 8 GB RAM, 1TB Hard Disk, keyboard, mouse etc. with latest software to operate the robotics system. License to operate robotics should be perpetual.

- Consumables (disposable tips, needles, protein sample trays, etc.) should be supplied for setting up of at least 1000 crystallization plates.

- Two years comprehensive warranty from the date of installation and successful on site demonstration of the robotics system.

Optional accessories to be quoted:

      - Optional programmable module to fill ~100 µL reservoir solution from 96 well deep well plate to 96 well crystallization tray using disposable tips.

Other terms and conditions:

            - Prices for additional two years comprehensive maintenance warranty and annual maintenance contract should be quoted.

            - The bidder should supply literature and highlight all the points that meet our technical specifications.

INSTITUTE OF MICROBIAL TECHNOLOGY

Sector 39-A, Chandigarh

Chandigarh-160036.

Tele-fax: 91-172-2636683

Email: purchase@imtech.res.in

Website: http://www.imtech.res.in

Open/Global Tender Notice No.-75   		      				Dated: 21.12.2015

TENDER DOCUMENT FOR OPEN/ GLOBAL TENDER

(TERMS & CONDITIONS INCLUDING INSTRUCTION TO BIDDERS AND CONDITIONS OF CONTRACT)

- GENERAL:  	Quotations in closed cover are invited on behalf of the Director, INSTITUTE OF MICROBIAL TECHNOLOGY, Chandigarh from the reputed Indian and foreign manufacturer. The offer/ quotation must be strictly as per required specifications and the tender terms & conditions.

- PREPARATION AND SUBMISSION OF OFFERS:

- Quotation should be submitted directly by the original manufacturer/supplier or its sole authorized distributor/dealer. In case of bid by authorized dealer/distributor, the manufacturer authorization should be attached with the technical bid as per Annexure-‘G’.

- In case a bidder is not doing business within India, it shall furnish the certificate to the effect that the bidder is or will be represented by an agent in India equipped and able to carry out the supply, maintenance, repair obligations etc. during the warranty and post-warranty period or ensure a mechanism at place for carrying out the supply, maintenance, repair obligations etc. during the warranty and post-warranty period.

- The bidder shall bear all costs associated with the preparation and submission of its bid irrespective of the conduct or outcome of the bidding process.

- The bidder should not indulge in any corrupt, fraudulent, collusive, coercive practices during the entire process of procurement and execution of contract/order.

- Before the deadline for submission of the bid, IMTECH reserves the right to modify the bidding document and to extend or not to extend the date of submission. Such amendment/modification will be notified to bidders receiving the bidding document in writing or by cable/fax/ email and will also be hosted on IMTECH website.

- Conditional tenders will be summarily rejected.

- A bidder may withdraw, substitute, or modify its bid after it has been submitted by sending a written notice signed by the authorized signatory before the date of submission of the bid. Any re-submission or modification in the bid should be submitted before the date & time of submission of bid as originally conveyed in the invitation of bid.

- No bid may be withdrawn, substituted or modified in the interval between the deadline for submission of bids and the expiration of the period of bid validity specified by the Bidder on the Bid Form or any extension thereof.

- First envelope marked “WITHDRAWAL” shall not be opened, but returned to the Bidder subject to submission of valid authorization to request the withdrawal. In case of substituted and modified bid, only the substituted bids and modified bids will be opened subject to production of authorization from the bidders.

- The quotation should be addressed to the Director, INSTITUTE OF MICROBIAL TECHNOLOGY, Chandigarh and sent to the Stores & Purchase Officer.

- Each offer/quotation should be kept in separate envelope against each item of the tender notice.

- For items covered under Two-Bid -Tender System, quotation/offer should be submitted in two separate envelopes containing Techno-Commercial bid and Price bid and these put in one envelope.

- The outer cover containing the offer/quote should be super-scribed with our Tender No. (Not global/open Tender Notice No), Due date and Date of opening of tender.

- The offers must contain the following documents :-

- Techno-commercial offers must contain:

      - Manufacturer authorization (as per clause 2(a)) as per Annexure –‘G’.

      - Certificate by bidder not doing business in India as per clause 2(b).

      - Technical literature/ leaflets and complete specifications of quoted model(s) along with commercial terms and conditions.

      - Compliance statement/questionnaire of tender terms and conditions as per Annexure-‘A’

      - Compliance statement of specifications as per Annexure- ‘B’

      - Bid Security/EMD (as per clause -4) as per Annexure- ‘C’

      - In case of exemption from submission of Bid security, proof of registration with DGS&D/NSIC as per clause (4(a)).

      - Integrity Pact- Only in case of bids of more than Rs. 3.00 Crore (as per Annexure- ‘D’)

      - Copies of previous supply orders (as per clause 10(c) and clause 25) as per Annexure –‘H’.

      - Details of supplies of similar equipments as per clause 10(d).

- Price Bid offers must contain: (Only in case of two bid system)

i.	Bid price as per clause 5 in format enclosed as Annexure- ‘E’ or Annexure- ‘F’ as applicable.

ii.	Certificate of price reasonability as per clause 10(b).

- DUE & OPENING DATES:     The Offer/Quotations must reach at IMTECH  as mentioned above on page No.1 in the presence of bidders, who wish to present themselves at the time of opening of tender. In case opening date happens to be a holiday, the tender will be opened on next working day at the same time & location. The price bids of two bid tender system shall be opened after technical evaluation of technical bids. The date of opening of price bids shall be informed to the bidders found suitable in technical evaluation. No request for extension in the date of submission & opening of tender will be entertained. However IMTECH, may at its discretion, extend the deadline for submission of bids under intimation to bidders.

- EARNEST MONEY DEPOSIT (EMD):

              - EMD in the form of Bank guarantee (As per format enclosed as ANNEXURE- ‘C’) or Term Deposit Receipt/FDR or Bank Draft of a scheduled bank pledged in the name of Director, INSTITUTE OF MICROBIAL TECHNOLOGY, Chandigarh valid for 180 days from the date of opening of the tender for the required amount as mentioned in the tender notice  separate for each item must be submitted along with the quotation (with the techno-commercial quotation in case of two-bid system and photocopy of the same enclosed with the price bid and for foreign manufacturers they should furnish the EMD in foreign currency  equivalent to Indian rupees, otherwise quotation may not be considered.  The firm registered with DGS&D/NSIC as manufacturer for the supply of the same category of item for which the party is submitting quotation will be exempted from submission of EMD.  Intended parties will have to give proof of registration along with their quotation.  EMD of the unsuccessful bidders shall be refunded without any interest at the earliest after finalization of the purchase of concerned item. The party must therefore, submit a pre-receipted Bill in triplicate along with the quotation (in case of EMD sent in form of Bank Draft) to enable us to refund their EMD.

              - The bid security /EMD may be forfeited if a bidder withdraws or amends or impairs or derogates its bid during the period of bid validity.

- PRICES

Bid prices should be filled in the appropriate format enclosed as Annexure ‘E’ and ‘F’.

- For goods manufactured with India:

- The price of goods quoted Ex-Works including taxes already paid.

- VAT and other taxes like excise duty etc. which will be payable on the goods if the contract is awarded.

- The charges for inland transportation, insurance and other local service required for delivering the goods at the desired destination as specified in the price schedule form.

- The installation, commissioning and training charges including any incidental services, if any.

- For goods manufactured abroad:

- The price of the goods, quoted on FCA(including inland freifht) (Named place of delivery abroad) or FOB (Named port of shipment), as specified in the schedule form.

- The charges for insurance and transportation of the goods to the port/place of destination.

- The agency commission charges, if any.

- The installation, commissioning and training charges including any incidental services, if any.

- We are exempted from payment of Excise Duty under notification number 10/97 dated 01.03.1997and Customs Duty under notification No.51/96 dated 23.07.1996.  Hence Excise Duty and Customs Duty, if any, should be shown separately.   No other charges than those mentioned clearly in the quotation will be paid.

- Sales Tax: We are not authorized to issue any Sales Tax Form ‘C’ & ‘D’.  However, being R&D Organization concessional Sales Tax Forms can be issued, if it is applicable in your states from where the material is being supplied.

- VALIDITY OF OFFER :

The prices must be valid at least for a period of 90 days for indigenous supplies & 180 days for imports from the date of opening of the Tender.  No changes in prices will be acceptable in any condition after opening of tender till the validity of the offer or execution of the order whichever is later.

- EVALUATION OF BIDS: 	Before submission of bid, the bidder is expected to examine all the instructions, forms, terms and specifications in the bidding document and should ensure that the following conditions are fulfilled:

  - Bidder Information form as per Annexure-‘I’.

  - The price schedule should be enclosed and must be signed.

  - The bid validity should not be shorter than required.

  - The manufacturer’s authorization should be enclosed in case the bidder is authorized dealer/ distributor.

  - The bidders should agree to provide the Performance Security.

  - The quoted goods should be as per required specifications.

  - In case the bid is substantially responsive, the purchase may request that bidder may submit the necessary information, documentations, within a reasonable period of time, to rectify, non-material, non-conformities or omission in the bid related to documentation requirements. Failure of the bidders to comply with the request may result in the rejection of its bids. But in case of the material deviation/reservation or omission which limits or is inconsistent with the bidding documents and the Purchaser’s Rights or Bidders obligation under the contract or which if rectified, would unfairly affect the other bidders, the bid will be rejected.

  - The Purchaser shall correct arithmetical errors on the following basis:

- If there is a discrepancy between the unit price and the line item total that is obtained by multiplying the unit price by the quantity, the unit price shall prevail and the line item total shall be corrected, unless in the opinion of the Purchaser there is an obvious misplacement of the decimal point in the unit price, in which case the line item total as quoted shall govern and the unit price shall be corrected.

- If there is an error in a total corresponding to the addition or subtraction of  subtotals, the subtotals shall prevail and the total shall be corrected; and

- If there is a discrepancy between words & figures, the amount in words shall prevail, unless the amount expressed in words is related to an arithmetic error, in which case the amount in figures shall prevail subject to (i) and (ii) above.

  - Selling exchange rate/equivalent to Indian currency will be as on the date of bid opening in the case of single bidding and the rate on the date of opening of the priced bids in the case of two-part bidding.

  - The bids shall be evaluated on the basis of final landing cost as per Annexure –‘E’ in case of import and Annexure –‘F’ in case of indigenous items.

  - The comparison between the indigenous and the foreign offers shall be made on FOR destination basis and CIF/CIP basis respectively. However the CIF/CIP prices quoted by any foreign bidders shall be loaded further as under :

- Towards customs duty and other statutory levies-as per applicable rates.

- Towards custom clearance, inland transportation etc. – 2% of the CIF/CIP value.

  - Where the price quoted on FOB/FCA and CIF/CIP basis are the same, the Contract would be made on CIF/CIP basis only.

  - The Purchaser reserves the right at the time of Contract award to increase or decrease the quantity of goods and services originally specified in the tender document without any change in unit price or other terms and conditions. Further, at the discretion of the purchaser, the quantities in the contract may be enhanced by 30% within the delivery period.

- The Vague terms like “packing, forwarding, transportation………….. etc. extra” without mentioning the   specific amount/percentage of these charges will not be accepted.  Such offers shall be treated as incomplete and rejected.

- INTEGRITY PACT: 	In case of purchases valuing more than Rs. 3 crore, it in mandatory for the supplier(s) to enter into an Integrity Pact with IMTECH as per the proforma enclosed as Annexure –‘D’, failing which their bid will not be considered.

- REASONABILITY  OF PRICES :

  - Please quote best minimum prices applicable for a premiere Research Institution, leaving no scope for any further negotiations on prices.

  - The quoting party should give a certificate to the effect that the quoted prices are the minimum and they have not quoted the same item on lesser rates than those being offered to IMTECH to any other customer nor they will do so till the validity of offer or execution of the purchase order, which ever is later.

  - Copies of at least last three supply orders of the last 3 years received from other customers along with details of such supply orders preferably in India for the same item/model may be submitted with the offer giving reasons of price difference of their supply order & those quoted to us, if any. (As per Annexure –‘H’).

  - The party must give details of identical or similar equipment, if any, supplied to any CSIR lab during last three years along with the final price paid and Performance certificate from them.

- ANNUAL MAINTENANCE CHARGES:  	The party must mention in the quotation, the rate/amount of annual maintenance charges, if we opt for maintenance contract after expiry of the warranty period.  This is mandatory to mention.

- SPECIFICATIONS:

A. 	Specifications are basic essence of the product.  It must be ensured that the offers must be strictly as per our specifications. At the same time it must be kept in mind that merely copying our specifications in the quotation shall not make the parties eligible for consideration of the quotation.  A quotation has to be supported with the printed technical leaflet/literature of the quoted model of the item by the quoting party/manufacturer and the specifications mentioned in the quotation must be reflected/supported by the printed technical leaflet/literature. Therefore the model quoted invariably be highlighted in the leaflet/literature enclosed with the quotation. Non-compliance of the above shall be treated as incomplete/ambiguous and the offer can be ignored without giving an opportunity for clarification/negotiation etc. to the quoting party

B.	The technical bid shall be evaluated for acceptability by the technical committee and may call the tenderers for discussion. If necessary, the committee may modify the technical specification to suit the IMTECH requirement. In such case the opportunity shall be given to the participating bidders for submitting the revised bid as per modified specifications, if any.

- COMPLIANCE STATEMENTS:

a. 	Bidders must furnish a Compliance Statement of each and every required Specification of our tender in the format at ANNEXURE –‘B’.  The deviations, if any, from the tendered specifications should be clearly brought out in the statement. Technical literature/leaflet showing the compliance of the specification may also be attached with the quotation.

b. 	Similarly, the Compliance Statement/questionnaire for Terms & Conditions of the tender may be furnished, as per the enclosed format at Annexure –‘A’, along with quotation (with techno- commercial bid in case of two bid tender system).

c.  	The firms are advised to submit both the compliance statements essentially along with their quotation failing which their offer may not be considered.

- PERIOD & MODE OF DELIVERY:  	The delivery period is the essence of supply; hence it must be indicated specifically in the quotation.   Mode of delivery, tentative size and weight of consignment may also be indicated in the quotation.

- PERFORMANCE SECURITY: 	All the successful bidders will have to submit the Performance Bank Guarantee or establish a Standby Letter of Credit (SLOC) or a Bankers cheque / or FDR pledged in favour of DIRECTOR, IMTECH for required amount as per payment terms mentioned at clause 16 below except where supplier opts for release of amount equivalent to PBG after expiry of warranty period.  The PBG format shall be provided to the successful bidder later on along with the purchase order.

- PAYMENT CONDITION:

A.   FOR INDIGENEOUS SUPPLIES:

Payment on Bill Basis after supply:  For local supplies the payment will be made only after satisfactory installation, commissioning and performance of the equipment at INSTITUTE OF MICROBIAL TECHNOLOGY, Chandigarh and after certification by our technical expert/scientist.  However, supplier will be required either to submit performance bank guarantee for 10% amount of the total value of equipment, after installation of the material, valid up to 60 days after the expiry of warranty period or the equivalent amount shall be released after expiry of the satisfactory warranty period.

B.   FOR IMPORTS:

The payment against imports shall be made through irrevocable L/C. L/C will be opened for 100% FOB value. 90% of L/C amount shall be released on presentation of complete and clear shipping documents and remaining 10% shall be released after installation/demonstration/commissioning, subject to submission of PBG of equivalent amount to cover the warranty period. The PBG should remain valid up to 60 days after the expiry of warranty period. In case of non-submission of PBG after installations/demonstration/commissioning, remaining payment i.e. 10% will be released only after the completion of warranty period.

- COMMENCEMENT OF WARRANTY PERIOD: 	The warranty period of an item shall commence from the date of receipt of the item in good working condition and satisfactory installation/commissioning/demonstration at the project site in INSTITUTE OF MICROBIAL TECHNOLOGY, Chandigarh.  The warranty period and validity of Performance Guarantee shall be extended for the period of delay in satisfactory installation and delay in warranty services.

- NO ADVANCE PAYMENT: 	No advance payment will be made to any supplier.

- INSTALLATION:		The equipment should be installed/commissioned and demonstrated, by the supplier at the lab immediately but in any case within one month after receipt of the item in the lab and the same will be put under operation to the satisfaction of our technical expert/Scientist who will test the performance of the equipment.   No separate charges for installation etc. will be paid to the party beyond the quoted prices.

- GUARANTEE/WARANTEE:	The equipment/instrument must be guaranteed/warranted for a period of at least one year, if not specifically mentioned otherwise in the specifications sheet, from the date of its satisfactory installation/commissioning against all manufacturing defects.  If the equipment is found defective during this period the whole equipment or part thereof will have to be replaced/repaired by the supplier free of cost at the lab. or at site of the supplier for which ‘to and fro’ expenses will be borne by the supplier.   However, if   the items are guaranteed for a period of more than one year, it may be specifically mentioned in the quotation.

- SPARE PARTS:  	Availability of spare parts of the equipment/instrument must be guaranteed for a period of at least seven years from the date of supply.

- AFTER SALES SERVICES:  	It should be clearly mentioned in the quotation whether the after sales services during and after the completion of warranty shall be provided directly by the supplier or their authorized agent/representative.  Terms of the after sales services, if any, may be mentioned in the offer.  However, in both the cases the original supplier shall be responsible for poor performance/services.

- INSPECTION :

- The inspection of the system will be done by our technical expert /Scientist in the presence of firm’s representative.

- In case of receipt of the material in short supply or damaged condition the supplier will have to arrange the supplies/ replacement of goods free of cost pending the settlement of the insurance case wherever applicable on FOR at the lab.  or CIF basis till satisfactory installation of the system.

- The supplier should arrange for physical Inspection of the items directly or through their authorized representative within seven days of arrival of the consignment failing which they will be responsible for the losses. After the shipment is effected, the supplier/its representative/Indian agents must remain in touch with the lab/instt. to ascertain the date of arrival of consignment.

- AUTHORIZATION OF INDIAN AGENTS & INDIAN REPRESENTATIVE:

- In case there is involvement of an /Indian agent/representative in any form as mentioned at (b) below, an authority letter / copy of agreement from the principal manufacturer must be submitted with the quotation.

- Where quoting party/Indian representative claims to be the subsidiary or branch office or an authorized representative of the principal foreign manufacturer/supplier in India, then a copy of approval from RBI/Ministry for operating business in India as Subsidiary/Branch/Liaison office or Joint-Venture may be submitted with offer.

- The details of all supplies involving the foreign exchange shall be furnished to the Enforcement Directorate, Chandigarh as per rule.  It may be noted that only the quoting parties & their principals shall be responsible for violation of Foreign Exchange Management Act (FEMA) for not declaring the actual bilateral mutual interests, if any.

- Indian agency commission shall be paid only to the Indian Agents in Indian Rupee out of the quoted FOB/Ex-works prices, after receipt of goods in good working condition & satisfactory installation/demonstration/commissioning of the items.

- USERS LIST :

a.	The list of users specifically for the same model/make of the quoted item (not the list of general users) along with the   complete name, address & contact numbers of the user organizations/persons may be submitted with the quotation along with the performance certificates from all/some of them.

b.	If you have supplied identical or similar equipment to other CSIR Labs./Instts., the details of such supplies for the preceding three years shall be given together with the prices finally paid.

- PENALTY CLAUSE FOR LATE DELIVERY & LATE INSTALLATION:

- Subject to operation of Force Majeure, time for delivery and acceptance is the essence of this contract.  The supplier shall arrange to ship the ordered materials within the delivery period mentioned in the order unless extended with/without penalty.

- In case of delay in supply on part of the supplier, a penalty @ 0.5% per week of Order/FOB value will be charged for delayed period subject to a maximum of 10% of order/FOB value.

- If the delay in the shipment of the ordered materials attributable to the supplier exceeds agreed time period from the date of original agreed upon date of shipment and extended with/without penalty, the INSTITUTE OF MICROBIAL TECHNOLOGY, Chandigarh shall have the right to cancel the contract/purchase order and recover the liquidated damages from other dues of the party or by legal means. It will also affect the other/future business dealings with such suppliers.

- The same rate of penalty shall be applicable for late installation of the equipment/instrument also.

- TRAINING: 	Wherever needed, Our Scientist/Technical persons should be trained by the supplier at the project site free of cost.  In case the person is to be trained at supplier’s site abroad or in India it should be mentioned in the quotation clearly.   The supplier should bear all the expenses for such training including ‘to & fro’ fares and lodging & boarding charges.

- NON-SUBMISSION OF TENDER: In case you are unable to submit your quotation against our tender enquiry we would appreciate and expect a note of regret from your side giving in brief, reasons for not quoting.

- DELETION OF NAME : Names of bidders,  backing-out/defaulting after opening of tenders will be recommended for deletion from the list of suppliers in addition to forfeiture of EMD submitted by them, if any.

- LATE/ DELAYED /UNSOLICITED QUOTATION: Late or delayed/Unsolicited quotations/offers shall not be considered at all. These will be returned to the firms as it is. Post tender revisions/corrections shall also not be considered.

- ACCEPTANCE OR REJECTION OF OFFER: The Director, INSTITUTE OF MICROBIAL TECHNOLOGY, Chandigarh reserves the right to accept or reject any quotation /tender in part or full without assigning any reason thereof.  The successful bidder should submit Order acceptance within 15 days from the date of issue.

- PAGE NUMBERING & SIGNATURES:  Your offer should be a page numbered and signed by an authorized signatory giving his/her name and designation below the signatures.

- INTERIM ENQUIRIES:  No interim inquiries will be attended.

- FORCE MAJEURE:  The Supplier shall not be liable for forfeiture of its performance bank guarantee, liquidated damages or termination for default, if and to the extent that, it’s delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force Majeure.  For purposes of this Clause, “Force Majeure” means an event beyond the control of the Supplier and not involving the Supplier’s fault or negligence and not foreseeable.  Such events may include, but are not limited to, acts of the Purchaser either in its sovereign or contractual capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions and freight embargoes.

If a Force Majeure situation arises, the Supplier shall promptly notify the Purchaser in writing of such conditions and the cause thereof.  Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by the Force Majeure event.

- DISPUTE SETTLEMENT: All disputes arising out of this contract shall be referred to the sole arbitration of the Director General of Council of Scientific & Industrial Research (CSIR) and Secretary, Department of Scientific & Industrial Research (DSIR) Govt. of India or his nominee, who is overall controlling authority of this laboratory as per the provisions of Indian Arbitration and Reconciliation Act 1996 and his award shall be final and binding on the parties to the dispute.   However, in case of importers, the provisions related to Arbitration as per the United Nations Commission on International Trade Laws (UNCTRAL) will be applicable and binding on both the parties. The venue of arbitration in both the above cased will be New Delhi (INDIA).

(Stores & Purchase Officer)

Encl:

      - Format for Compliance of Terms & Conditions.

      - Set of Specifications

Annexure -‘A’

FORMAT/QUESTIONNAIR FOR COMPLIANCE OF TERMS AND CONDITIONS

Tender No.: ______________________				                   Due Date __________________

NOTE:

- Quotation will not be considered without submission of this format.

- If a particular question is not at all applicable please write NA in compliance part in Col. No.  4 below.

- Kindly see the relevant terms & conditions of the tender document as mentioned in Col. No. 3 in each question before replying to the questions mentioned in Col. 2 below).

| SNo | Terms & condition of Tender document | Relevant Clause No. of the tender terms & conditions of the tender | Whether acceptable (say ‘Yes’ or ‘No’ (preferably use different colour ink for ‘No’) | Deviation from tender terms, if any, with reasons for noncompliance or alternative condition quoted for |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |
| 1 | a.) Whether quotation is direct from Principal supplier/manufacturer or their own office in India (Please specify) | Clause 2(a) |  |  |
|  | b) Whether quotation is being submitted by Indian Agent/authorized distributor/ dealer | Clause 2(a) |  |  |
|  | c) Whether the agent is registered with DGS&D/NSIC | Clause 4(a) |  |  |
| 2 | a) Whether the Techno-commercial and price bids (for two bid tender system only) have been kept in separate envelopes duly marked with “Techno-commercial Bid” and “Price Bids” respectively. | Clause 2(l) |  |  |
|  | b) Whether the tender No., Due date & Opening dates have been written outside all the envelopes. | Clause 2 (m) |  |  |
| 3 | Whether techno-commercial Bid contains EMD, technical literature/leaflets, detailed specifications & commercial terms & conditions etc. as applicable. | Clause 2(n)(A) |  |  |

| 4 | - Whether the required EMD is being submitted with the quotation | Clause 4 |  |  |
| --- | --- | --- | --- | --- |
|  | - Please specify the form of EMD whether in the form of DD/bank guarantee or TDR/FDR (Please mention No., date & amount of EMD documents.) or Bid Security Format at Annexure –‘C’ | Clause 4 |  |  |
|  | - Pre-receipted bill for refund of EMD is enclosed (for bank drafts only) | Clause 4 |  |  |
| 5 | - If the prices are on Ex-Works basis or FOB (names port of shipment ) or FCA (named place of delivery abroad) | Clause 5 (A) & (B) |  |  |
|  | - Whether specific amounts or percentage of expenses like packing, forwarding, handling, freight, insurance, documentation etc. have been mentioned in quotation separately in clear terms. | Clause 5(B), (C) & (D) |  |  |
| 6 | a) Whether prevailing rates of sales tax, excise duty & other govt. levies (for indigenous supplies) have been given in quotation | Clause 5 (A), (C) & (D) |  |  |
| 7 | Have you mentioned the validity period of the quotation as per our requirements | Clause 6 |  |  |
| 8 | a) Whether the Price reasonability Certificate is submitted with quotation | Clause 10 (b) |  |  |
|  | b) Whether copies of last two supply orders of the same item from other customers have been attached with the quotation | Clause 10 (c) |  |  |
|  | c) If there is any difference in prices of last two orders & those quoted to us. If yes, please give reasons for the same | Clause 10 (c) |  |  |
|  | d) Whether supplied in CSIR Labs. | Clause 10 (d) |  |  |
| 9 | Whether rates/amount of AMC after the warranty period is over has been mentioned | Clause 11 |  |  |
| 10 | Have you gone through the specification Clause & complied with the same | Clause 12 (A) & (B) |  |  |
| 11 | Whether the Make/Brand, Model number and name of manufacturer has been mentioned in the quotation and Printed technical literature/ leaflets of quoted items have been submitted |  |  |  |

| 12 | Whether compliance statement of specifications has been attached with the quotation. | Clause 13 (a) & annexure- ‘E’ |  |  |
| --- | --- | --- | --- | --- |
| 13 | a) Whether the delivery period for supply of the items has been mentioned | Clause 14 |  |  |
|  | b) Whether mode of delivery & tentative size & weight of the consignment has also been indicated | Clause 14 |  |  |
| 14 | Do you agree to the submission of Performance Bank Guarantee/Standby L/C and have you mentioned in your quotation about this. | Clause 13 |  |  |
| 15 | a) Do you agree with the payment terms for indigenous supplies? | Clause 16A |  | No deviation permitted |
|  | b) Do you agree with the payment terms for imports supplies? | Clause 16 B |  |  |
| 16 | Do you agree about the date of commencement of warranty period & its extension is necessary. | Clause 17 |  |  |
| 17 | a) Who will install/commission and demonstrate the equipment at lab. FREE OF COST | Clause 19 |  |  |
|  | b) Will you be able to do it within a month | Clause 19 |  |  |
| 18 | Have you mentioned the guarantee/warrantee period in your quotation and do you agree with guarantee clause? | Clause 20 |  |  |
| 19 | Spare parts | Clause 21 |  |  |
| 20 | After Sales service | Clause 22 |  |  |
| 21 | a) Do you agree that on receipt of material in damaged condition or short supply you will replace the same on CIF basis, free of cost pending the settlement of the insurance claim? | Clause 23 (b) |  |  |
|  | b) Do you agree with the clause of physical inspection? | Clause 23 (c) |  |  |
| 22 | For Import Cases only: a) Whether the Indian agent is registered with DGS&D | Clause 24 |  |  |
|  | b) Whether the valid DGS& D registration certificate has been enclosed with the offer | Clause 24 (b) |  |  |
|  | c) If the party is a subsidiary or corporate branch office of the foreign supplier, then whether copy of the approval from Reserve Bank of India is attached with the offer | Clause 24 (c) |  |  |

| 23 | Whether list of specific user’s for the same item & model as quoted along-with performance certificates from the users is submitted with offer | Clause 25 |  |  |
| --- | --- | --- | --- | --- |
| 24 | Whether you agree to the penalty clause for late delivery & installation? | Clause 26 (a to d) |  |  |
| 25 | Whether training to our scientist/technical person will be given free of cost. If yes, have you specified in quotation whether it will be in our lab? Or at supplier’s site in India or abroad. | Clause 27 |  |  |
| 26 | a) Whether all the pages have been page numbered? | Clause 32 |  |  |
|  | b) Whether quotation has been signed and designation & name of signatory mentioned. | Clause 32 |  |  |
| 27 | Do you agree to settle the issue through the sole arbitration of the DG, CSIR or his nominee? | Clause 35 |  |  |

Signatures of the authorized signatory_________________

Name of the signatory ______________________________

Designation ______________________________________

Name & Seal of the quoting party ___________________

Dated:___________

Annexure-‘B’

## FORMAT OF COMPLIANCE STATEMENT OF SPECIFICATIONS

| S. N. | Name of specifications/ part / Accessories of tender enquiry | Specifications of quoted Model/ Item | Compliance Whether “YES” Or “NO” | Deviation, if any, to be indicated in unambiguous terms | Whether the compliance / deviation is clearly mentioned in technical leaflet/ literature |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |

Annexure – ‘C’

BID SECURITY FORM

Whereas ……………………………… ………………………………… . . .  (Hereinafter called “the tenderer”) has submitted their offer dated …………….. .for the supply of …………………………………………… (Hereinafter called “the tender”) against the purchaser’s tender enquiry No. _________________________________

KNOW ALL MEN by these presents that WE …………………………………………… . . .. . . . . . .. (Name of bank) of ………………………..  …………… (Name of country), having our registered office at ………………………………………………………………….. . . . . . . . . . . . . . . . . . . . (Address of bank) (Hereinafter called the “Bank”), are bound unto … …… ……………………………………………… … (Name of purchaser) (Hereinafter called “the purchaser”) in the sum of ……….. …………….. ..  for which payment will and truly to be made to the said Purchaser, the Bank binds itself, its successors, and assigns by these presents. Sealed with the Common Seal of the said Bank this ……. day of..…….. 20…….

THE CONDITIONS of THESE OBLIGATIONS are:

      - If the tenderer withdraws or amends, impairs or derogates from the tender in any respect within the period of validity of this tender.

      - If the tenderer having been notified of the acceptance of his tender by the Purchaser during the period of its validity.

      - If the tenderer fails to furnish the Performance Security for the due Performance of the contract.

      - Fails or refuses to accept/execute the contract.

WE undertake to pay the Purchaser up to the above amount upon receipt of its first written demand, without the Purchaser having to substantiate its demand, provided that in its demand the Purchase will note that the amount claimed by it is due to it, owing to the occurrence of one or both of the two conditions, specifying the occurred condition or conditions.

The guarantee shall remain in force up to and including forty five (45) days after the period of the bid validity, and any demand in respect thereof should reach the Bank not later than the above date.

…….……………………

(Signature of the authorized officer of the Bank)

Name and Designation of the Officer

Seal, Name & Address of the Bank and address of the branch

Annexure-‘D’

FORMAT OF THE INTEGRITY PACT

## Integrity Pact

## Between

## INSTITUTE OF MICROBIAL TECHNOLOGY (IMTECH) hereinafter called to as “The Principal”

And

………………………………………………………………………..… hereinafter referred to as “The Bidder/Contractor”

Preamble

The Principal intends to award, under laid down organizational procedures, contract/s for ……………………………………. The Principal values full compliance with all relevant laws of the land, rules, regulations, economic use of resources and of fairness/transparency in its relations with its Bidder(s) and /or Contractor(s).

In order to achieve these goals, the Principal will appoint an Independent External Monitor (IEM), who will monitor the tender process and the execution of the contract for compliance with the principles mentioned above.

Section 1 – Commitments of the Principal

- The Principal commits itself to take all measures necessary to  prevent corruption and to observe the following principles:

        - No employee of the Principal, personally or through family members, will in connection with the tender for , or the execution of a contract, demand, take a promise for or accept, for self or third person, any material or immaterial benefit which the person is not legally entitles to.

        - The Principal will, during the tender process treat all Bidder(s) with equity and reason. The Principal will in particular, before and during the tender process, provide to all Bidder(s) the same information and will not provide to any Bidder(s) confidential/additional information through which the Bidder(s)confidential/ additional information through which the Bidder(s) could obtain an advantage in relation to the tender process or the contract execution.

        - The Principal will exclude from the process all known prejudiced persons.

- If the Principal obtains information on the conduct of any of its employees which is a criminal offence under the IPC/PC Act, or if there be a substantive suspicion in this regard, the Principal will inform the chief Vigilance Officer and a in addition can initiate disciplinary action.

Section 2 – Commitments of the Bidder(s) / Contractor(s)

- The Bidder(s) /Contractor(s) commit himself to take all measures necessary to prevent corruption. He commits himself to observe the following principles during his participation in the tender process and during the contract execution

              - The Bidder(s)/ Contractor(s) will not, directly or through any other person of form, offer, promise or give to any of the Principal’s employees involved in the tender process or the execution of the contract or to any third person any material or other benefit which he/she is not legally entitled to, in order to obtain in exchange any advantage of any kind whatsoever during the tender process or during the execution of the contract.

              - The Bidder(s)/ Contractor(s) will not enter with other Bidders into any undisclosed agreement or understanding, whether formal or informal. This applies in particular to prices, specifications, certifications, subsidiary contracts, submission or non-submission of bids or any other actions to restrict competitiveness or to introduce cartelization in the bidding process.

              - The Bidder(s)/ Contractor(s) will not commit any offence under the relevant IPC/PC Act; further the Bidder(s)/ Contractor(s) will not use improperly, for purposes of competition or personal gain, or pass on to others, any information or document provided by the Principal as part of the business relationship, regarding plans, technical proposals and business details, including information conta8ined or transmitted electronically.

              - The Bidder(s)/ Contractor(s) of foreign origin shall disclose the name and address of the agents/representatives in /India, if any. Similarly the Bidder(s)/ Contractor(s) of Indian Nationality shall furnish the name and address of the foreign principals, if any. Further details as mentioned in the “guidelines on Indian agents of Foreign Suppliers” shall be disclosed by the Bidder(s)/ Contractor(s). Further, as mentioned in the Guidelines all the payments made to the Indian Agent/representative have to be in Indian Rupees only. Copy of the “Guidelines on Indian Agents of Foreign Supplies” is annexed and marked an Annexure.

              - The Bidder(s)/ Contractor(s) will, when presenting his bid, disclose any and all payments he has made, is committed to or intends to make to agents, brokers or any other intermediaries in connection with the award of the contract.

- The Bidder(s)/ Contractor(s) will not instigate third persons to commit offences outlines above or be an accessory to such offences.

Section 3 – Disqualification from tender process and exclusion from future contracts

If the Bidders(s) / Contractor(s), before award or during execution has committed a transgression through a violation of Section2, above or in any other form such as to put his reliability or credibility in question, the Principal is entitled to disqualify the Bidders(s) / Contractor(s), from the tender process or take action as per the procedure mentioned in the “Guidelines on Banning of Business Dealing”. Copy of the “Guidelines on Banning of Business Dealing” is annexed and marked as Annex –“B”.

Section 4- Compensation for Damages

- If the Principal has disqualified the Bidder(s) from the tender process prior to the award according to Section 3, the Principal is entitles to demand and recover the damages equivalent to Earnest money Deposit/Bid Security.

- If the Principal has terminated the contract according to Section 3 or if the Principal is entitles to terminate the contract according to Section 3, the Principal shall be entitles to demand and recover from the Contractor liquidated damage of the contract value or the amount equivalent to Performance Bank Guarantee.\

Section 5 – Previous transgression

- The Bidder declares that no previous transgressions occurred in the last 3 years with any other company in any country conforming to the anti corruption approach or with any other Public Sector enterprises in India that could justify his exclusion from the tender process.

- If the Bidder makes incorrect statement on this subject, he can be disqualified from the tender process or action can be taken as per procedure mentioned in “Guidelines on Banning of business dealings.”

Section 6 – Equal treatment of all Bidders/ Contractors/ Sub Contractors

- The Bidder(s)/ Contractor(s) undertake(s) to demand from all sub contractors a commitment in conformity with this Integrity Pact, and to submit it to the Principal before contract signing.

- The Principal will enter into agreement with identical conditions as this one with all Bidders, Contractors and Sub contractors.

- The Principal will disqualify from the tender process all bidders who do not sign this Pact or violet its provisions.

Section 7 – Criminal charges against violating Bidders/ Contractors/ Sub Contractor

- The Principal appoints competent and credible Independent External monitor for this Pact. The task of the Monitor is to review independently and objectively, whether and to what extent the parties comply with the obligations under this agreement.

- The Monitor is not subject to instructions by the representatives of the parties and performs his functions neutrally and independently. He reports to the Director, IMTECH.

- The Bidder(s)/ Contractor(s) accepts that the monitor has the right to access without restriction to all Project documentation of the Principal including that provided by the Contractor. The contractor will also grant the Monitor, upon his request and demonstration of a valid interest, unrestricted and unconditional access to his project documentation. The same is applicable to Subcontractors. The Monitor is under contractual obligation to treat the information and documents of the Bidder(s) Contractor(s)/ sub Contractor(s) with confidentiality.

- The Principal will provide to the Monitor sufficient information about all meetings among the parties related to the Project provided such meetings could have an impact on the contractual relations between the Principal and the Contractor. The parties offer to the Monitor the option to participate in such meetings.

- As soon as the Monitor notice, or believes to notice, a violation of this agreement, he will so inform the Management of the Principal and request the Management to discontinue or take corrective action, or to take other relevant action. The monitor can in this regard submit non-binding recommendations. Beyond this, the Monitor can in this regard to demand from the parties that they act in a specific manner, refrain from action or tolerate action.

- The monitor will submit a written report to the Director, IMTECH within 8 to 10 weeks from the date of reference or intimate to him by the Principal and should the occasion arise, submit proposals for correcting problematic situations.

- Monitor shall be entitled to compensate on the same terms as being extended to/provide to Independent Directors on the IMTECH.

- If the Monitor has reported to the Director, IMTECH as substantiated suspicion of an offence under relevant IPC/PC Act, and the Director, IMTECH has not, within the reasonable time taken visible action to proceed against such offence or reported it to the Chief Vigilance Officer, the Monitor may also transmit this information directly to the Central Vigilance Commissioner.

- The word ‘Monitor’ would include both singular and plural.

Section 8 – Pact Duration

This pact begins when both parties have legally signed it. It expires for the Contractor 10 months after the last payment under the contract, and for all other Bidders 6 months after the contract has been awarded.

If any claim is made/lodged during this time, the same shall be binding and continue to be valid despite the lapse of this pact as specified above, unless it is discharged/determined by Director, IMTECH.

Section 9 – Other provisions

- This agreement is subject to Indian Law, Place of performance and jurisdiction is the Registered Office of the Principal, i.e. Chandigarh.

- Changes and supplements as well as termination notices need to be made in writing. Side agreements have not been made.

- If the Contractor is a partnership or consortium, this agreement must be signed by all partners or consortium members.

- Should one or several provisions of this agreement turn out to be invalid, the remained of this agreement remains valid. In this case, the parties will strive to come to an agreement to their original intentions.

________________________________				_______________________________

(For & on behalf of the Principal)					(For & on behalf of the Bidder/ Contractor)

Office Seal							Office Seal

Place…………………………

Date ………………………...

Witness 1:

(Name & Address) :	_______________________________

______________________________

Witness 2:

(Name & Address):	_______________________________

______________________________

Annexure-‘E’

PRICE SCHEDULE FOR GOODS BEING OFFERED FROM ABROAD

Name of the Bidder _________________________				Tender No._____________________________

| 1 | 2 | 3 | 4 | 5 | 6 |  | 7 |  | 8 |  | 9 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sl No | Item Description | Country of origin | Unit | Qty | Unit Price |  | Total price (5x6) |  | Charges for Insurance & transportation to port/ place of destination |  | Total Price (7+8) |
|  |  |  |  |  | FOB (named port of shipment) | FCA (named place of delivery) | FOB (named port of shipment) | FCA (named place of delivery) | Ocean | Air | CIF |

Total Bid price in foreign Currency ____________________________________________________ _________________ in words.

Signature of Bidder

Name:

Business Address:

Note:

- Indian agents name & address ____________________

- Installation, commissioning & training charges, if any_____________________

- Cost of Spares _______________________________

- The Indian agent’s commission shall paid in Indian Rupees only based

on the Exchange Rate prevailing on the date of negotiation of documents

in accordance with clause 22.1 of GCC.

- The cost of optional items shall be indicated separately.

Annexure-‘F’

PRICE SCHEDULE FOR GOODS BEING OFFERED FROM INDIA

Name of the Bidder _________________________				Tender No._____________________________

| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sl. No. | Item Description | Country of Origin | Unit | Qty | Ex-Works. Ex-Warehouse, Ex-show room off the shelf price (inclusive of all taxes already paid) | Total price Ex-Works. Ex-Warehouse, Ex-show room off the shelf price (inclusive of all taxes already paid) 5x6 | VAT & other taxes like excise duty payable, if contract is awarded | Packing & forwarding up to station of dispatch, if any | Charges of inland transportation, insurance up to Lab./Instt. | Installation, Commissioning & training charges, If any. |

Total Bid price in foreign Currency ____________________________________________________ _________________ in words.

Signature of Bidder

Name:

Business Address:

Note:

- The cost of optional items shall be indicated separately.

- Cost of spares ___________________________

Annexure-‘G’

MANUFACUTRER’S AUTHORIZATION FORM

[The Bidder shall require the Manufacturer to fill in this Form in accordance with the instructions indicated. This letter of authorization should be on the letterhead of the Manufacturer and should be signed by a person with the proper authority to sign documents that re binding on the Manufacturer]

Date: [Insert date (as Day, month and year) of Bid submission]

Tender No.: [Insert number from Invitation for Bids]

To: [Insert complete name and address of Purchaser]

WHEREAS

We [insert completer name of Manufacturer], who are official manufacturers of [Insert type of goods manufactured] having factories at [insert full address of Manufacturer’s factories], do hereby authorize [insert complete name of Bidder] to submit a bid the purpose of which is to provide the following goods, manufactured by us [insert name and or brief description of the goods], and to subsequently negotiate and sign the contract.

We hereby extend our full guarantee and warranty in accordance with Clause 20 of the Terms and Conditions of Contract with respect to the Goods offered by the above firm.

Signed: [insert signature(s) of authorized representative(s) of the Manufacturer]

Name: [insert complete name(s) of authorized representative(s) of the Manufacturer]

Title: [insert title]

Duly authorized to sign this Authorization on behalf of: [insert complete name of Bidder]

Dated on  _________________________ day of ________________ [insert date of signing]

Annexure-‘H’

PREVIOUS SUPPLY ORDERS FORMAT

Name of the Firm _______________________________________________________

| Order placed by {Full address of Purchaser] | Order No. and Date | Description and quantity of ordered equipment | Value of order | Date of completion of delivery as per contract | Date of actual completion of delivery | Remarks indicating reasons for late delivery, if any and justification for price difference of their supply order & those quoted to us. | Has the equipment been installed satisfactorily? (Attach a certificate from the Purchaser/ Consigner] | Contact Person along with Telephone no., Fax no. and e-mail address. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Signature and Seal of the Manufacturer/ bidder …………………………………

Place:

Date:

Annexure-‘I’

BIDDER  INFORMATION FORM

[The Bidder shall fill in this form in accordance with the instructions indicated below. No alterations to its format shall be permitted and no substitutions shall be accepted. This should be done on the letter head of the firm]

Date: [Insert date (as day, month and year) of Bid Submission]

Tender No.: [Insert number from invitation of bids]

Page 1 of  ___________ pages

            - Bidder’s Legal Name [Insert Bidder’s legal name]

            - In case of JV, legal name of each party: [insert legal name of each [arty in JV]

            - Bidders actual or intended Country of Registration : [insert actual or intended country of registration]

            - Bidder’s year of registration: [insert Bidder’s year of registration]

            - Bidder’s Legal Address in Country of Registration: [insert bidder’s legal address in country of registration]

            - Bidder’s Authorization Representative Information

Name: [insert Authorization Representative’s name]

Address: [insert Authorization Representative’s address]

Telephone/Fax numbers: [insert Authorization Representative’s telephone/fax numbers]

Email address: [insert Authorization Representative’s email address]

            - Attach are copies of original documents of : [check the box(es) of the attached original documents]

Articles of Incorporation or Registration of firm names in 1 above.