| No: PUR/2011-12/IND21451/null | Date: 11/06/2012 |
| --- | --- |

To

Sub : Request for Pro-forma Invoice Dear Sir This Research Institute is interested in purchasing of the items mentioned below. You are therefore requested to forward a pro-forma invoice along with your terms & conditions of supply & payment. Please provide a copy of the technical literature and the specifications of these items in a sealed envelope. Please read carefully the terms and conditions mentioned overleaf and submit your pro-forma invoice/quotation accordingly.

| SNo. | Name of Item | Catalog No | Qty |
| --- | --- | --- | --- |
| 1 | COMPLETE BIOMETRIC ACCESS CONTROL SYSTEM WITH INSTALLATION AT VARIOUS LOCATIONSIN THE INSTITUTE, each |  | 24 |

Important - Please mention our reference number on the envelop and address all correspondence to Director IMT Chandigarh only. - Please quote strictly as per our specifications. - Please attach compliance sheet - Proforma Invoice received after due date will not be considered under any circumstances. - Please note that your Quotation should reach us latest by 26/6/2012 opened on 27/6/2012 - Your Quotation must be duly stamped and reach directly to IMT from you only. If quotation is submitted by Indian representative/agent then they must have to produce a authority certificate of principal party for quotating the price Other wise it will be very difficult at our end to consider your quotation.

Yours faithfully,

Stores & Purchase Officer.

TERMS & CONDITIONS Commercial - Cost : Mention the price of the material in the FOB/FCA including inland freight value only. Please note that being a Govt. Organization we cannot make Advance Payment. - Cost of Packing, Forwarding, Freight, Transportation, Insurance charge may please be mentioned invariably, failing which offer is liable to be rejected. - Agency Commission : Mention the percentage of Indian Agency Commission payable to commission Indian Agent in INR and also mention the name of your authorized Indian Agent/Representative, Pro-forma invoice without mentioning Indian Agency Commission will not be considered at our end. - Validity : The validity of your pro forma invoice should be less than 180 days from the date of opening. - Warranty : Mention the warranty period of equipment after satisfactory installation. 10% Bank Guarantee is to be submitted by you/your Agent for the Equipments costing Rs.25 Lac & above - Taxes For Indigenous products, please quote Sales Tax/VAT/Service Tax/Freight/Other levies etc., if any, clearly in your quotation. General Condition - Zerox copies of latest price list applicable list may be enclosed applicable in Indian Market. - Ensure that quoted price will not be higher to any other customers in India to whom this particular item have been sold particularly to govt. of India Organization. - Sent a certificate that the equipment is of latest technology & will not be obsolete within 5 years. - Ensure that all essential spares parts of this equipment will available in India with your Indian Agent as and when required. - Provide the list of the users in India of the same equipment along with their contact / email address. - Enclose a copy of agreement with your authorized Indian Agent. - FAX : 0091-172-2636683, 2690632 email : purchase@imtech.res.in - TEL : 0091-0172-6665363 website : www.imtech.res.in

Yours faithfully,

Stores & Purchase Officer

| Tender Inviting Authority: Institute Of Microbial Technology, Sector 39A, Chandigarh |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Name of Item: Access System with Accessories |  |  |  |  |  |  |  |
| Reference No: IMTECH |  |  |  |  |  |  |  |
| Bidder Name : |  |  |  |  |  |  |  |
| SCHEDULE OF WORKS |  |  |  |  |  |  |  |
| Sl. No. | Description of work |  | No. of Quantity(in Nos.) | Name of Currency (in words) | RATE In Figures(per unit) To be entered by the Bidder |  | Amount |
|  |  |  |  |  | Figures | Words |  |
| 1 | Standalone Biometric Controller |  | 25 |  |  |  |  |
| 2 | Biometric Reader |  | 17 |  |  |  |  |
| 3 | Software |  | 2 |  |  |  |  |
| 4 | Workstation |  | 1 |  |  |  |  |
| 6 | Double Leaf EM Lock |  | 22 |  |  |  |  |
| 7 | Door Closer |  | 44 |  |  |  |  |
| 8 | Push Button |  | 5 |  |  |  |  |
| 9 | 5A power Socket |  | 25 |  |  |  |  |
| 10 | I/O Box with 2 Ports |  | 25 |  |  |  |  |
| 11 | 12v 7H Battery |  | 25 |  |  |  |  |
| 17 | Laying of cable– Unit price per meter (On actual) |  |  |  |  |  |  |
| 18 | Laying of cable– Unit price per meter (On actual) |  |  |  |  |  |  |
| 19 | Cat 6 Cable- Unit price per metre(on actual) |  |  |  |  |  |  |
| 20 | Add Freight & Insurance charges |  |  |  |  |  |  |
| 21 | Installation Charges |  |  |  |  |  |  |
| 22 | S.T./VAT (in percentage) for Indian quoted items. Please quote in words(Rupees) also. |  |  |  |  |  |  |
| 23 | CAMC for 1st year (in INR) |  |  |  |  |  |  |
| 23 | CAMC for 2nd year (in INR) |  |  |  |  |  |  |
| 25 | CAMC for 3rd year (in INR) |  |  |  |  |  |  |
| 26 | CAMC for 4th year (in INR) |  |  |  |  |  |  |
| 27 | CAMC for 5th year (in INR) |  |  |  |  |  |  |

| S. No. | Specifications |  |  |
| --- | --- | --- | --- |
| 1 | General Requirements | Compliance(Yes/No) | Remarks |
| 1.1 | Web Viewer Application |  |  |
| 1.2 | Simultaneous monitoring at two ends and auto update of reports |  |  |
| 1.3 | Centerlized updating of users from control room to each machine |  |  |
| 1.5 | Free Updates of software should be available online |  |  |
| 1.6 |  |  |  |
| 2 | Standalone Biometric Controller |  |  |
| 2.1 | Processor: 32 Bit microprocessor or more |  |  |
| 2.2 | Memory: 8MB flash memory or more |  |  |
| 2.3 | 2000 Users finger print template storage or more |  |  |
| 2.4 | Maximum transaction storage: More than 50,000 |  |  |
| 2.5 | Authentication Methods: Fingerprint (1:1, 1:N), Card & Password |  |  |
| 2.6 | Verification time (sec): <2Sec or better |  |  |
| 2.7 | FAR (%):< 1 |  |  |
| 2.8 | FRR (%):< 1 |  |  |
| 2.9 | Communication: TCP/IP, RS232, RS485, USB |  |  |
| 2.1O | Wiegand format: input/output |  |  |
| 2.11 | Should support Antipassback |  |  |
| 2.12 | Should generate an alarm in case of forcefully access: It should have Duress Finger technology |  |  |
| 2.13 | Easy Data Management: In case of network failure, the transaction logs would be transferred using a USB flash disk |  |  |
| 2.14 | The controller should be able to interface to EM Locks. |  |  |
| 2.15 | Alarm Output: Audio |  |  |
| 2.16 | Temperature: 0°C ~ 45°C |  |  |
| 2.17 | Power input: DC 12V |  |  |
| 3 | Biometric Reader |  |  |
| 3.1 | It should support multi combinational verification type. |  |  |
| 3.2 | Authentication Methods: Fingerprint (1:1, 1:N) & Card |  |  |
| 3.3 | The Reader will Communicate directly with master terminal |  |  |
| 3.4 | Temperature: 0°C ~ 45°C |  |  |
| 3.5 | Humidity: 20 ~ 80 |  |  |
| 3.6 | Power input: DC 12V |  |  |
| 4 | Software |  |  |
| 4.1 | Software License Life time validty & Should support updates if any. |  |  |
| 4.2 | Should maintain complete database of employees with photo option. |  |  |
| 4.3 | Should maintain organizational structure such as Departments, Sections etc. |  |  |
| 4.4 | Should have provision of advance shift scheduling required in factory environment. |  |  |
| 4.5 | Should have facility of adjusting holiday with working day. |  |  |
| 4.6 | Should support online transaction monitoring. |  |  |
| 4.7 | ODBC Complaint supporting various RDBMS database such as MS-SQL 2000 / 2005. |  |  |
| 4.8 | Should support RAW as well as process data export facility. |  |  |
| 4.9 | Able to generate the following reports on daily, weekly, Monthly, quarterly and annual basis: |  |  |
| 4.1o | Physical arrival |  |  |
| 4.11 | Physical departure |  |  |
| 4.12 | Late arrival |  |  |
| 4.13 | Early departure |  |  |
| 4.15 | Attendance |  |  |
| 4.16 | Absence |  |  |
| 4.17 | Continuous absence |  |  |
| 4.18 | Overtime / Extra hours |  |  |
| 4.19 | Leave availed |  |  |
| 4.2o | Working on holiday |  |  |
| 4.21 | Department wise absenteeism, late coming reports |  |  |
| 4.22 | Company / Department / Section Category wise analysis reports |  |  |
| 4.23 | Software should support windows xp/windows vista/windows 7 professional/windows server 2003 |  |  |
| 5 | Workstation |  |  |
| 5.1 | Intel Core i5 2nd Genration, 4GB RAM |  |  |
| 5.2 | 320 GB Hard Disk or more |  |  |
| 5.3 | DVD-RW, |  |  |
| 5.4 | Keyboard + Mouse, |  |  |
| 5.5 | 15” Wide LCD or more |  |  |
| 5.6 | Genuine Windows 7 Proffessional or better |  |  |
| 6 | Terms & Conditions |  |  |
| 6.1 | Should have atleast ten similar successful installations of minimum Rs. 10 Lakh value each. Please attach client list of such installations giving complete address and contact numbers of clients, copy of orders for such work and work done certificate from the client. |  |  |
| 6.2 | The successful bidder will have to furnish a performance bank guarantee of 10% of the cost of tender in the form of a bank draft drawn in favour of The Director, IMTECH, Chandigarh payable at Chandigarh valid for warranty period. In case of a failure to attend any complaint regarding defects in supplied equipment within 48 hours this bank guarantee can be revoked by Director IMTECH. Also the bidder shall be bound to provide comprehensive AMC as per rates quoted while bidding for supply of material for a period of 05 years afer the warranty period.Only the cost of equipment will be taken into account for deciding the CAMC charges. |  |  |
| 6.3 | A certificate on letter head of the company stating that the firm has not been blacklisted/debarred anywhere shall be attached. |  |  |
| 6.4 | Warranty: 01 year from the date of successful installation & commissioning. |  |  |
|  | *The technical bid and the price bid should be quoted strictly as per the format given. If there is any deviation from the laid down technical specifications and Terms & Conditions or the prescribed format the tender shall be summarily rejected. The bidder shall attach datasheet/brochure of each quoted product & clearly mark in green colour compliance of each quoted item on it. Additionally, it should be clearly stated in YES/NO whether the quoted product complies with the indicated requirements as per laid down technical specifications. |  |  |