Top of Form

| No: PUR/2011-12/IND19614/KK | Date: 29/12/2011 |
| --- | --- |

| To |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

Sub : Request for Pro-forma Invoice Dear Sir This Research Institute is interested in purchasing of the items mentioned below. You are therefore requested to forward a pro-forma invoice along with your terms & conditions of supply & payment. Please provide a copy of the technical literature and the specifications of these items in a sealed envelope. Please read carefully the terms and conditions mentioned overleaf and submit your pro-forma invoice/quotation accordingly.

| SNo. | Name of Item | Catalog No | Qty |
| --- | --- | --- | --- |
| 1 | Nitrogen Generator, 1 |  | 2 |

Important - Please mention our reference number on the envelop and address all correspondence to Director IMT Chandigarh only. - Please quote strictly as per our specifications. - Please attach compliance sheet - Proforma Invoice received after due date will not be considered under any circumstances. - Please note that your Quotation should reach us latest by 10/01/2012 opened on 11/01/2012 - Your Quotation must be duly stamped and reach directly to IMT from you only. If quotation is submitted by Indian representative/agent then they must have to produce a authority certificate of principal party for quotating the price Other wise it will be very difficult at our end to consider your quotation. - Please submit in Two bid 1. Technical Bid 2.Price bid

Yours faithfully,

Stores & Purchase Officer.

Specifications for the Nitrogen Generator

- Nitrogen flow rate upto 35 Litres/min or more

- N2 purity: >98 to 99.5%

- Outlet pressure up to 7 barg or 100 psig

- Inbuilt compressor

- Inbuilt flow and pressure regulators

- Equipped w alarms

- Equipped w wheels

- Power supply, 220-240 volt, 50 Hz

- Warranty  one year

Optional:

- N2 Storage vessel or cylinder (15 L or more)

- AMC after expiry of warranty

Bottom of Form