Top of Form

| No: PUR/2011-12/IND19802/null | Date: 23/12/2011 |
| --- | --- |

To

Sub : Request for Pro-forma Invoice Dear Sir This Research Institute is interested in purchasing of the items mentioned below. You are therefore requested to forward a pro-forma invoice along with your terms & conditions of supply & payment. Please provide a copy of the technical literature and the specifications of these items in a sealed envelope. Please read carefully the terms and conditions mentioned overleaf and submit your pro-forma invoice/quotation accordingly.

| SNo. | Name of Item | Catalog No | Qty |
| --- | --- | --- | --- |
| 1 | Multiprobe Homogenizer, Multiprobe |  | 1 |

Important - Please mention our reference number on the envelop and address all correspondence to Director IMT Chandigarh only. - Please quote strictly as per our specifications. - Please attach compliance sheet - Proforma Invoice received after due date will not be considered under any circumstances. - Please note that your Quotation should reach us latest by 10/01/2012 opened on 11/01/2012 - Your Quotation must be duly stamped and reach directly to IMT from you only. If quotation is submitted by Indian representative/agent then they must have to produce a authority certificate of principal party for quotating the price Other wise it will be very difficult at our end to consider your quotation. - EMD Rs ...... must be deposited along with quotation. - Please Quote in Two Bid 1. Technical Bid 2. Price Bid

10/01/201211/01/2012

TERMS & CONDITIONS Commercial - Cost : Mention the price of the material in the FOB/FCA including inland freight value only. Please note that being a Govt. Organization we cannot make Advance Payment. - Cost of Packing, Forwarding, Freight, Transportation, Insurance charge may please be mentioned invariably, failing which offer is liable to be rejected. - Agency Commission : Mention the percentage of Indian Agency Commission payable to commission Indian Agent in INR and also mention the name of your authorized Indian Agent/Representative, Pro-forma invoice without mentioning Indian Agency Commission will not be considered at our end. - Validity : The validity of your pro forma invoice should be less than 180 days from the date of opening. - Warranty : Mention the warranty period of equipment after satisfactory installation. 10% Bank Guarantee is to be submitted by you/your Agent for the Equipments costing Rs.25 Lac & above - Taxes For Indigenous products, please quote Sales Tax/VAT/Service Tax/Freight/Other levies etc., if any, clearly in your quotation. General Condition - Zerox copies of latest price list applicable list may be enclosed applicable in Indian Market. - Ensure that quoted price will not be higher to any other customers in India to whom this particular item have been sold particularly to govt. of India Organization. - Sent a certificate that the equipment is of latest technology & will not be obsolete within 5 years. - Ensure that all essential spares parts of this equipment will available in India with your Indian Agent as and when required. - Provide the list of the users in India of the same equipment along with their contact / email address. - Enclose a copy of agreement with your authorized Indian Agent. - FAX : 0091-172-2636683, 2690632 email : purchase@imtech.res.in - TEL : 0091-0172-6665363 website : www.imtech.res.in

Yours faithfully,

Stores & Purchase Officer.

Multiprobe Homogenizer

Essential Specifications:

- Capacity: Homogenizer should have multiprobe, and can homogenize 5-10 samples at a time.

- Tube holder: Should be compatible for holding of tubes capacity 2-50 ml tube holder.

- Processing Volume:  0.5 ml to 20 ml or more.

- Sample processing time: less than two minutes.

- Temperature: Room temperature as well as at 4oC. Ice rack should be provided.

- Tissue sample: homogenization of hard as well as soft tissues including lungs, liver, spleen, brain, muscular tissues, etc.

- Plastic tube with sealed cap should be available for homogenization of pathogens and infected samples.

- Probe Material: stainless steel as well as plastic.

- Programmable speed and time for homogenization.

- Positive airflow.

- Movable rack should be available for efficient processing of sample.

- Speed control: 1000-25,000rpm.

- Tube holders for different volume should be provided.

- All essential accessories like tubes, probes, should be provided.

- Homogenizer should be CE certified.

- Warranty: two years.

Optional accessories:

Quotes for all accessories for 3 years including [i] plastic and steel probes of different diameters for processing of soft as well as hard tissues; [ii] sealed tubes made up of plastic and glass (15-30 ml) with flat as well as conical bottom.

General requirements

      - Party must have 5 year experience in the relevant field.

      - Party must have supplied homogenizers to the Govt. or reputed private organizations in last 5 years.

      - Party must provide 24 months guarantee for the functioning of homogenizer and clearly define their comprehensive and non comprehensive maintenance charges.

      - Party must provide installation, validation, performance demonstration at site.

      - Compliance/deviation statement should be provided comparing the specifications of the quoted models to the required specifications.

      - Specifications mentioned in the bid should be supported by printed technical literature; failure in this regard may result in rejection of bid.

      - List of users of the quoted model in India should be provided.

AFTER SALES SERVICES

Party must have qualified personnel and with permanent infrastructure for servicing as per International standards.

Addresses of vendors

# INKARP Instruments Private Limited

H. No-8, 2nd Floor, Phase-XI, Mohali (SAS Nagar) Punjab - 160062, Tel: 0172 24652643Email:-Saleschd@inkarp.co.in

Elixir Technologies No.29, 'ADIGIRI', Ground Floor, Ist Cross, MICO Layout, Mahalaxmipuram, Bangalore, 560 086.

Bio Instruments Bglr off: No.29, 'ADIGIRI', Ist Cross, First Floor, MICO Layout, Mahalaxmipuram, Bangalore 560 086.

Swathi International: Distributors/ Consultants of Laboratory Equipments, No. 751, 66th Cross, Kumaraswamy Layout Bangalore 560 078

Bottom of Form