Top of Form

| No: PUR/2011-12/IND19898/KK | Date: 05/01/2012 |
| --- | --- |

To

Sub : Request for Pro-forma Invoice Dear Sir This Research Institute is interested in purchasing of the items mentioned below. You are therefore requested to forward a pro-forma invoice along with your terms & conditions of supply & payment. Please provide a copy of the technical literature and the specifications of these items in a sealed envelope. Please read carefully the terms and conditions mentioned overleaf and submit your pro-forma invoice/quotation accordingly.

| SNo. | Name of Item | Catalog No | Qty |
| --- | --- | --- | --- |
| 1 | Automated Flash Chromatography System consisting of Gradient Pump, Column Holder, UV Visible Detector and Fraction Collector, 1 |  | 1 |

Important - Please mention our reference number on the envelop and address all correspondence to Director IMT Chandigarh only. - Please quote strictly as per our specifications. - Please attach compliance sheet - Proforma Invoice received after due date will not be considered under any circumstances. - Please note that your Quotation should reach us latest by 17/01/2012 opened on 18/01/2012 - Your Quotation must be duly stamped and reach directly to IMT from you only. If quotation is submitted by Indian representative/agent then they must have to produce a authority certificate of principal party for quotating the price Other wise it will be very difficult at our end to consider your quotation. - EMD Rs ...... must be deposited along with quotation. - Quote must be in two bid system 1) Technical Bid 2)Price Bid

17/01/201218/01/2012

TERMS & CONDITIONS Commercial - Cost : Mention the price of the material in the FOB/FCA including inland freight value only. Please note that being a Govt. Organization we cannot make Advance Payment. - Cost of Packing, Forwarding, Freight, Transportation, Insurance charge may please be mentioned invariably, failing which offer is liable to be rejected. - Agency Commission : Mention the percentage of Indian Agency Commission payable to commission Indian Agent in INR and also mention the name of your authorized Indian Agent/Representative, Pro-forma invoice without mentioning Indian Agency Commission will not be considered at our end. - Validity : The validity of your pro forma invoice should be less than 180 days from the date of opening. - Warranty : Mention the warranty period of equipment after satisfactory installation. 10% Bank Guarantee is to be submitted by you/your Agent for the Equipments costing Rs.25 Lac & above - Taxes For Indigenous products, please quote Sales Tax/VAT/Service Tax/Freight/Other levies etc., if any, clearly in your quotation. General Condition - Zerox copies of latest price list applicable list may be enclosed applicable in Indian Market. - Ensure that quoted price will not be higher to any other customers in India to whom this particular item have been sold particularly to govt. of India Organization. - Sent a certificate that the equipment is of latest technology & will not be obsolete within 5 years. - Ensure that all essential spares parts of this equipment will available in India with your Indian Agent as and when required. - Provide the list of the users in India of the same equipment along with their contact / email address. - Enclose a copy of agreement with your authorized Indian Agent. - FAX : 0091-172-2636683, 2690632 email : purchase@imtech.res.in - TEL : 0091-0172-6665363 website : www.imtech.res.in

Yours faithfully,

Stores & Purchase Officer.

Technical Specifications for Automated Flash Chromatography System consisting of Gradient Pump, Column Holder, UV Visible Detector and Fraction Collector:

| 1. | Gradient Pump Flow Rate | Min- 1.0ml/min ; Max- 200ml/min |
| --- | --- | --- |
| 2 | Solvent Lines | Independent four solvent, quatro-binary gradient capability wherein it should be possible to use all the four solvents in binary combination in a single run and should have the ability to add third co-solvent during a binary gradient. |
| 3 | Sample loading | Provisions for Liquid loading on cartridge. Bulk media loading on the cartridge. |
| 4. | Interface | System should have space-saving, touch screen controlled graphic user interface with Chromatogram storage, processing and retrieving facilities |
| 5. | Columns | Suitable to handle cartridge columns for sample loading from 100mg to 30g. Cartridge construction material should be USP Class VI compliant. Should be able to use cartridges as segmented cartridges in series. Starting kit of silica columns should be provided |
| 6. | Real-time method change facility | Change solvent composition, flow rate, fraction settings during purification and running condition. |
| 7. | Automated method creation | Facility to create accurate gradient methods based on entered TLC data. The software must have a gradient optimization feature which converts a linear gradient method to solvent-saving step gradient method. |
| 8. | Cartridge and sample load recommendation features | List of column cartridges with maximum recommended sample load under gradient elution It should have sample loss prevention feature and alarms |
| 9. | Fraction Collector | Broad fractions rack capacity to collect minimum 125 fractions & can be enhanced further if required. One set of each 5 ml and 20 ml fraction collection tubes along-with racks (one set of each rack, 5m & 20 ml) should be provided. Able to add/remove fractions racks during the run |
| 10. | Detection | Variable, dual-wavelength UV-Visible detector (200-800 nm) preferably with accuracy of ±1nm |
| 11. | Collection | Able to collect fractions using two user selected wavelengths Inbuilt software should be compatible to communicate (send and receive signals) with a third party detector (Evaporative light-scattering, RI etc.) and fractionate on the received signal, if it is attached in future. |
| 12. | Warranty | Comprehensive warranty for 2 years |
|  | OPTIONAL | - ELS Detector should be quoted with the system optionally. - System should have the capacity to perform purification of upto 750 g sample loading on normal & reverse phase columns and the same should be quoted optionally - Normal phase and reverse phase (C-18) columns should be quoted optionally |

Bottom of Form