Top of Form

| No: PUR/2011-12/IND21122/null | Date: 05/03/2012 |
| --- | --- |

To

Sub : Request for Pro-forma Invoice Dear Sir This Research Institute is interested in purchasing of the items mentioned below. You are therefore requested to forward a pro-forma invoice along with your terms & conditions of supply & payment. Please provide a copy of the technical literature and the specifications of these items in a sealed envelope. Please read carefully the terms and conditions mentioned overleaf and submit your pro-forma invoice/quotation accordingly.

| SNo. | Name of Item | Catalog No | Qty |
| --- | --- | --- | --- |
| 1 | Homogenizer, High Pressure |  | 1 |

Important - Please mention our reference number on the envelop and address all correspondence to Director IMT Chandigarh only. - Please quote strictly as per our specifications. - Please attach compliance sheet - Proforma Invoice received after due date will not be considered under any circumstances. - Please note that your Quotation should reach us latest by 20/03/2012 opened on 21/03/2012 - Your Quotation must be duly stamped and reach directly to IMT from you only. If quotation is submitted by Indian representative/agent then they must have to produce a authority certificate of principal party for quotating the price Other wise it will be very difficult at our end to consider your quotation. - EMD Rs.60000/- must be deposited along with quotation. - The quote must be under two bid system 1. Technical and 2.Price Bid

20/03/201221/03/2012

TERMS & CONDITIONS Commercial - Cost : Mention the price of the material in the FOB/FCA including inland freight value only. Please note that being a Govt. Organization we cannot make Advance Payment. - Cost of Packing, Forwarding, Freight, Transportation, Insurance charge may please be mentioned invariably, failing which offer is liable to be rejected. - Agency Commission : Mention the percentage of Indian Agency Commission payable to commission Indian Agent in INR and also mention the name of your authorized Indian Agent/Representative, Pro-forma invoice without mentioning Indian Agency Commission will not be considered at our end. - Validity : The validity of your pro forma invoice should be less than 180 days from the date of opening. - Warranty : Mention the warranty period of equipment after satisfactory installation. 10% Bank Guarantee is to be submitted by you/your Agent for the Equipments costing Rs.25 Lac & above - Taxes For Indigenous products, please quote Sales Tax/VAT/Service Tax/Freight/Other levies etc., if any, clearly in your quotation. General Condition - Zerox copies of latest price list applicable list may be enclosed applicable in Indian Market. - Ensure that quoted price will not be higher to any other customers in India to whom this particular item have been sold particularly to govt. of India Organization. - Sent a certificate that the equipment is of latest technology & will not be obsolete within 5 years. - Ensure that all essential spares parts of this equipment will available in India with your Indian Agent as and when required. - Provide the list of the users in India of the same equipment along with their contact / email address. - Enclose a copy of agreement with your authorized Indian Agent. - FAX : 0091-172-2636683, 2690632 email : purchase@imtech.res.in - TEL : 0091-0172-6665363 website : www.imtech.res.in

Yours faithfully,

Stores & Purchase Officer.

Homogenizer

Continuous homogenizer for biotechnology/ pharma applications with following specifications:

- High pressure (minimum 1500 bar) to break bacteria, yeast, algae, plant cells and particles present in fluid to the smallest particle size down to the nanometer range.

- Should consist of high quality stainless steel and high wear resistance materials,

pump valves: high wear resistance; pistons: tungsten carbide coated SS/solid ceramic

- Aseptic containment system, CIP/SIP cleanability, cGMP compliant system. The additional cost for cGMP certification, IQ/OQ/PQ documentation, if any, must be quoted as optional items.

- FDA approved gaskets and elastomers. Product contact materials and surface finish should be as per FDA regulations.

- Jacketed feed tank, SS 316L

- Flow rate: Minimum 35 L/h at 1500 bar

- PLC/ Microprocessor based control system, automated control system

- Capability for control over back pressure.

- Pressure control valves, actual pressure reading and indication system with high precision pressure gauzes.

- Built in safety protection against over pressure.

- Polished SS panels, sanitary tri-clamp connectors, adjustable anti-vibration feet.

- Accessory/ accessories for product cooling to be included and to be obtained as a part of the main equipment.

- Warranty: One year

Other conditions:

- The company must quote in foreign currency in case of imported system, in addition to Indian rupee (if the party so desires).

- cGMP certification/ documents and IQ/OQ/PQ documentation, if costs extra, to be quoted as optional items.

- List of Indian users (the original equipment manufacturer must have at least 5 installations of similar equipment in India) and satisfactory performance certificated from at least three Indian biotech/ pharma industries/ CSIR institutes/ IITs/ NIPER/ Central Universities to be attached.

- A certificate on technical/ service support from original equipment manufacturer for next 7 years to be submitted.

- A compliance statement for the quoted specifications vis-à-vis each of the above specifications supported by technical literature from original equipment manufacturer must be submitted.

- AMC for three years after completion of warranty period to be quoted.

Bottom of Form