INSTITUTE OF MICROBIAL TECHNOLOGY (IMTECH)

(Council of Scientific & Industrial Research)

Sector 39-A, Chandigarh -160036 (India)

Phone: 0091-172-6665106/6665363 Fax: 2690585/2636683

E.mail: purchase@imtech.res.in

Invitation of expression of interest for 700 MHz Nuclear Magnetic Resonance Spectrophotometer (NMR)

An "Expression of Interest" is invited on behalf of the Director, IMTECH for submission of Technical proposals, Presentation and Demonstration of 700 MHz NMR from original equipment manufacturers or their authorized dealers in India so as to shortlist the make/model of the product meeting our requirements given below:

Intended applications: The equipment is intended to be a multi-user system to be shared 
by various groups for mixed applications, such as (but not limited to)

- Structure and dynamics study of biomacromolecules.

- 'Sample limited' applications such as natural products, metabolites etc.

- High throughput metabolite screening for biomarkers.

- Characterization of molecular configuration, conformation, dynamics, interactions 
and mechanism.

- Binding site characterization for soluble samples.

- Characterization of unstable intermediates/intermediates formed in low 
concentration.

Other applications may include binding site characterization for insoluble samples (such as membrane proteins), study of nanomaterials, and small animals.

The firm may submit their proposals regarding availability of such system with technical details to Director (Attention: SPO), IMTECH, Sector 39A, Chandigarh latest by 5:30 PM dated 31st July 2013.

The companies/firms shall submit lists of successful installations in India as well as 
globally, their values, locations and the relevant contact persons/addresses.