| No: PUR/2011-12/IND19063 Dated 24/10/11 |  |  |
| --- | --- | --- |
| Sub : Request for Pro-forma Invoice Dear Sir This Research Institute is interested in purchasing of the items mentioned below. You are therefore requested to forward a pro-forma invoice along with your terms & conditions of supply & payment. Please provide a copy of the technical literature and the specifications of these items in a sealed envelope. Please read carefully the terms and conditions mentioned overleaf and submit your pro-forma invoice/quotation accordingly. |  |  |

| SNo. | Name of Item | Catalog No | Qty |
| --- | --- | --- | --- |
| 1 | Coating Unit 1 Set |  | 1 |

Important - Please mention our reference number on the envelop and address all correspondence to Director IMT Chandigarh only. - Please quote strictly as per our specifications. - Please attach compliance sheet - Proforma Invoice received after due date will not be considered under any circumstances. - Please note that your Quotation should reach us latest by 29/11/2011 opened on 30/11/2011 - Your Quotation must be duly stamped and reach directly to IMT from you only. If quotation is submitted by Indian representative/agent then they must have to produce a authority certificate of principal party for quotating the price Other wise it will be very difficult at our end to consider your quotation. - Quote must be in two bid system 1) Technical bid 2) Commercial bid - EMD Rs 80000/-... must be deposited along with quotation.

Yours faithfully,

Stores & Purchase Officer.

TERMS & CONDITIONS

Commercial

- Cost : Mention the price of the material in the FOB/FCA/CIF including inland freight value only. Please note that being a Govt. Organization we cannot make Advance Payment.

- Cost of Packing, Forwarding, Freight, Transportation, Insurance charge may please be mentioned invariably, failing which offer is liable to be rejected.

- Agency Commission : Mention the percentage of Indian Agency Commission payable to commission Indian Agent in INR and also mention the name of your authorized Indian Agent/Representative, Pro-forma invoice without mentioning Indian Agency Commission will not be considered at our end.

- Validity : The validity of your pro forma invoice should be less than 180 days from the date of opening.

- Warranty : Mention the warranty period of equipment after satisfactory installation. 10% Bank Guarantee is to be submitted by you/your Agent for the Equipments costing Rs.25 Lac & above

- Taxes For Indigenous products, please quote Sales Tax/VAT/Service Tax/Freight/Other levies etc., if any, clearly in your quotation.

General Condition

- Zerox copies of latest price list applicable list may be enclosed applicable in Indian Market.

- Ensure that quoted price will not be higher to any other customers in India to whom this particular item have been sold particularly to govt. of India Organization.

- Sent a certificate that the equipment is of latest technology & will not be obsolete within 5 years.

- Ensure that all essential spares parts of this equipment will available in India with your Indian Agent as and when required.

- Provide the list of the users in India of the same equipment along with their contact / email address.

- Enclose a copy of agreement with your authorized Indian Agent.

- FAX : 0091-172-2636683, 2690632 email : purchase@imtech.res.in

- TEL : 0091-0172-6665363 website : www.imtech.res.in

Specifications for Coating Unit

1. Table Top based multiple application thermal evaporator for vacuum deposition of thin layers of carbon and metals operational on 220V/50Hz power supply. Fully automatic operation with manual override.

2. Capability to thermally evaporate carbon rods and metals, metal evaporation source for filament, boat and aperture cleaning. Appropriate holders and base plates to be included to do sequential carbon and metal coating without venting of vacuum chamber.  Adjustable height and tilt   of carbon and metal sources.

3. Rotating specimen stage  with externally adjustable tilt angle(0-90°),

Low-angle shadowing suitable for flat TEM specimens, such as DNA

proteins and virus particles. Grid holder stage.

4. Module for Sputter coating of SEM samples. At least 50mm targets preferably larger. Carbon fibre evaporation capability.  Standard flat and also rotary  planetary stage for sputter coating of samples. All holders to be able to accommodate Carl Zeiss SEM stubs. Au target as standard with two additional Au and one additional Au/Pd and Pt target.

5. Film Thickness monitor with additional sensors.

6.  Air cooled turbo molecular pump (TMP) based vacuum system with rotary oil pump backing. TMP capacity around 100l/s. Rotary pump to have oil mist filter with two spares. Spare oil refills for TMP and rotary oil pump (at least two oil refills).

7. Glow discharge assembly for treatment of coated TEM grids, preferably integrated into main unit or as stand alone unit.

8. To be supplied with N2 and Ar cylinders with regulators each. Tungsten and Molybdenum boats (6 each to be included in start-up kit).

9. Two years warranty with additional one year of service warranty. On site installation and training.

10. Optional sputter coating capability for non noble metals with Chromium target.