INSTITUTE OF MICROBIAL TECHNOLOGY (IMTECH)

(Council of Scientific & Industrial Research)

Sector 39-A, Chandigarh -160036 (India)

Phone: 0091-172-6665106/6665363 Fax: 2690585/2636683

E-mail: purchase@imtech.res.in

Invitation of expression of interest for SAXS Instrument for Biomolecular Sample Characterization with two simultaneously usable beamlines with line and point collimation

An "Expression of Interest" is invited on behalf of the Director, IMTECH for submission of Technical proposals of SAXS instrument for characterizing biomolecular samples from original equipment manufacturers or their authorized dealers in India, so as to shortlist the make/model of the product meeting our requirements given below:

SAXS system should have two optics or beamlines which can be simultaneously used by sharing a single source.

The source should have both line and point collimation, changeable by user.

Automated/software controlled alignment.

Both beamlines should be capable of collecting SAXS/WAXS data.

Following sample stations should be available: Fixed capillary, Flow cell, GISAXS, and autosampler.

Sample stations should have option to vary temperature in the range of -20 to 120 °C or better.

The firm having one or more products with above technical capabilities may please provide details of the product(s) to Director (Attention: SPO), IMTECH, Sector 39-A, Chandigarh latest by 5:30 PM dated 20 September, 2013.

The companies/firms can submit lists of successful installations in India as well as globally, and the relevant contact persons/addresses.