| No: PUR/2009-10/IND11306/KK | Date: 23/11/2009 |
| --- | --- |

Sub : Request for Pro-forma Invoice Dear Sir This Research Institute is interested in purchasing of the items mentioned below. You are therefore requested to forward a pro-forma invoice along with your terms & conditions of supply & payment. Please provide a copy of the technical literature and the specifications of these items in a sealed envelope. Please read carefully the terms and conditions mentioned overleaf and submit your pro-forma invoice/quotation accordingly.

| SNo. | Name of Item | Catalog No | Qty |
| --- | --- | --- | --- |
| 1 | Fluorescence microscope , 1 |  | 1 |

Important - Please mention our reference number on the envelop and address all correspondence to Director IMT Chandigarh only. - Please quote strictly as per our specifications. - Please attach compliance sheet - Proforma Invoice received after due date will not be considered under any circumstances. - Please note that your Quotation should reach us latest by 14/12/2009 opened on 15/12/2009 - Your Quotation must be duly stamped and reach directly to IMT from you only. If quotation is submitted by Indian representative/agent then they must have to produce a authority certificate of principal party for quotating the price Other wise it will be very difficult at our end to consider your quotation. - EMD Rs ...... must be deposited along with quotation. - Quotation must be submitted in two Bid System 1) Technical Bid 2) Price Bid

14/12/200915/12/2009

Yours faithfully,

Stores & Purchase Officer.

SPECIFICATIONS FOR FLUORESCENCE MICROSCOPE

|  | SPECIFICATIONS |  |
| --- | --- | --- |
| 1. | MICROSCOPE STAND | ERGONOMIC DESIGN UPRIGHT MICROSCOPE BODY WITH BUILT-IN COLOR /LIGHT BALANCE FILTERS |
| 2. | OPTICAL SYSTEM | INFINITY CORRECTED OPTICAL SYSTEM |
| 3. | EYEPIECE LENS | 10X (2PCS) BOTH WITH DIOPTER ADJUSTMENT (F.O.V. 25MM OR BETTER) |
| 4. | OBJECTIVES | HIGH N.A. PLAN APOCHROMATIC OBJECTIVES FOR ~4X, ~10X (N.A. 0.3), ~20X N.A. 0.5), ~40X N.A. 0.75), 60/63X WATER N.A 1.3 PREFERABLY 1.4 &100X OIL N.A. 1.3) HIGHER NA PREFERRED. ALL OBJECTIVES SUITABLE FOR HIGH RESOLUTION FLUORESCENCE WORK AND IT SHOULD BE CAPABLE OF DIC WORK. |
| 5. | NOSE PIECE | REVOLVING NOSEPIECE TO ACCOMMODATE AT LEAST SIX OBJECTIVES AT A TIME |
| 6. | STAGE | X AND Y RECTANGULAR MECHANICAL STAGE MOTION CONTROL ON RIGHTHAND SIDE, |
| 7. | CONDENSER | UNIVERSAL CONDENSER |
| 8. | ILLUMINATION | 12V, ATLEAST 100W OR BETTER HALOGEN ILLUMINATION |
| 9. | FLUORESCENE ATTACHMENT | EPIFLUROSCENCE CAPABILITY 100W/120W/130W MERCURY FIBER LIGHT ILLUMINATOR WITH LAMP. OR METAL HALIDE ILLUMINATOR, BOTH WITH VARIABLE INTENSITY OUTPUT. SHOULD HOLD AT LEAST 6 FLUORESCENCE FILTER BLOCKS SINGLE BANDPASS FILTER BLOCKS FOR UV, BLUE &GREEN EXCITATION, 2 ADDITIONAL EXCITATION FILTERS ALONG WITH SUITABLE DICHORICS FOR i) EXCITATION ~ 400-415nm, ii) EXCITATION IN RED DYES LIKE ALEXA 633, OR EQUIVALENT ) |
| 10. | DIGITAL CAMERA | HIGH RESOLUTION DIGITAL COLOR AIR COOLED CCD CAMERA CAPABLE OF HANDLING VERY LOW LIGHT FLUORESCENCE & BRIGHT FIELD IMAGES WITH AT LEAST 0.5” HIGH DENSITY CCD CHIP, AT LEAST1.4 MEGAPIEXELS RESOLUTION |
| 11. | SOFTWARE | FOR IMAGE ACQUISTION, TIME LAPSE IMAGING, MULTI-CHANNEL FLUORESCENCE, ANNOTATION, MORPHOLOGY/MORPHOMETERY, AUTO-MEASUREMENT, OVERLAY, SPOT METERING CAPABILITY. |
| 12. |  | MICROSCOPE, CAMERA & SOFTWARE PREFERABLY FROM SAME MANUFACTURER FOR BETTER COMPATIBILITY. |
| 13. | Spares | AT LEAST THREE SPARE HG/METAL HALIDE LAMPS AND THREE SPARE HALOGEN LAMPS. FULL STARTER KIT WITH IMMERSION OIL (AT LEAST 100ML X 3) FULL FILTER SET AND LENS PAPER PACK. |
| 14. | DATA COLLECTION AND PROCESSING UNIT (LOCALY SUPPLY) | BRANDED (LATEST) WITH AT LEAST 4 GB RAM, DVD WRITER, 500 GB OR HIGHER HDD, 19”TFT MONITOR ALONGWITH UPS |
| 15. | Accessories | VIBRATION FREE TABLE, TWO ERGONOMIC CHAIRS FOR STRESS FREE OPERATION AND LIGHT ISOLATION CHAMBER. |
| 16. | OPTIONAL | PLAN APO OIL OBJECTIVE LENS ~150X OR INTERMEDIATE MAGNIFICATION CAPABILITY FOR MICROBIAL SPECIMENS. STAGE HOLDER FOR PETRI DISHES. |

TERMS & CONDITIONS

Commercial

1) Cost                  : 	Mention the price of the material in the FOB/FCA including inland freight value only. Please note that being a Govt. Organization we cannot make Advance Payment.

2) Insurance         :	Consignment should be insured through National Insurance               Company of India or is associate in your country.

3) Freight              :	The dispatch of the material should be through Air India preferably.

4) Agency             : 	Mention the   percentage   of   Indian   Agency Commission payable  to

Commission            commission Indian Agent in INR and also mention the name of your   authorized Indian Agent/Representative, Pro-forma invoice without mentioning Indian Agency Commission will not be considered at our end.

5) Validity             : 	The validity of your pro forma invoice should be less than 180 days from the date of opening.

6) Warranty           : 	Mention the warranty period of equipment after satisfactory   installation. 10% Bank Guarantee is to be submitted by you/your Agent for the Equipments costing Rs.25 Lac & above

General Condition

- Zerox copies of latest price list applicable list may be enclosed applicable in Indian Market.

- Ensure that quoted price will not be higher to any other customers in India to whom this particular item have been sold particularly to govt. of India Organization.

- Sent a certificate that the equipment is of latest technology & will not be obsolete within 5 years.

- Ensure that all essential spares parts of this equipment will available in India with your Indian Agent as and when required.

- Provide the list of the users in India of the same equipment along with their contact / email address.

- Enclose a copy of agreement with your authorized Indian Agent.

FAX : 0091-172-2690056, 2690632			                                   email : purchase@imtech.res.in

TEL  : 0091-0172-2690056, 2636680 - 94     	                                            website : www.imtech.res.in