| No: PUR/2009-10/IND12002 | Date: 19/02/2010 |
| --- | --- |

To Sub : Request for Pro-forma Invoice Dear Sir This Research Institute is interested in purchasing of the items mentioned below. You are therefore requested to forward a pro-forma invoice along with your terms & conditions of supply & payment. Please provide a copy of the technical literature and the specifications of these items in a sealed envelope. Please read carefully the terms and conditions mentioned overleaf and submit your pro-forma invoice/quotation accordingly.

| SNo. | Name of Item | Catalog No | Qty |
| --- | --- | --- | --- |
| 1 | Electrochemical Analyzer with necessary software and accessories, 1 |  | 1 |

Important - Please mention our reference number on the envelop and address all correspondence to Director IMT Chandigarh only. - Please quote strictly as per our specifications. - Please attach compliance sheet - Proforma Invoice received after due date will not be considered under any circumstances. - Please note that your Quotation should reach us latest by 09/03/2010 opened on 10/03/2010 - Your Quotation must be duly stamped and reach directly to IMT from you only. If quotation is submitted by Indian representative/agent then they must have to produce a authority certificate of principal party for quotating the price Other wise it will be very difficult at our end to consider your quotation. - EMD Rs ...... must be deposited along with quotation.

Yours faithfully,

Stores & Purchase Officer.

Electrochemical analyzer (workstation) (220V/50Hz) capable of doing analysis with following major techniques

- Cyclic Voltammetry (CV) and Linear Sweep Voltammetry (LSV)

- Chronoamperometry (CA),  Chronopotentiometry (CP), Chronocoulometry (CC), Repeating Chronoamperometry and  Chronopotentiometry

- Normal and Differential Pulse Voltammetry  with stripping

- Square Wave Voltammetry  with stripping

- AC Voltammetry  and Second Harmonic AC Voltammetry

- Amperometric I-t Curve

- Differential Pulse Amperometry and Double  Differential Pulse Amperometry

- Integrated pulse Amperometric Detection

- AC Impedance

- Impedance – Time and Potential

- Multi-Current Steps

- Potentiometric Stripping Analysis

- Galvanostat

Specifications:

Potentiostat : CV and LSV scan rate: 0.00001 to 5000 V/s or better

Max Current:  250 mA or higher

Current resolution : < 0.1 pA

Compliance voltage:  12 V or higher

Potential increment: 100 V or lower

Input impedance of electrode: > 1012 ohm

Input bias current: <50  pA

Common mode rejection ratio: > 50 dB (1 MHz)

Sensitivity scale: 10-12 in different ranges

Analog/Digital converters: 16 bits or higher

Serial and USB ports for data communication

Cell control: purge and stir

Essential accessories:

# Electrochemical Cell System includes 4 glass cells with one Cell top

2mmPt Working Electrode: minimum   5 pkg

3mm GC Working Electrode: 5 pkg

Ag/AgCI Reference (aq):  5pkg

Ag/AgCl Reference (non aq): 5pkg

Calomel Reference Electrode

Pt Wire Counter Electrode

Electrode Polishing Kit

State-of-art fully compatible computer system (minimum configuration: high speed core 2 duo processor,  4 GB SDRAM; 360 GB HDD; graphic card, 19” LCD monitor etc.) with LASER printer and necessary Windows Based Acquisition Software (framework software), Interface Cable (Serial / USB), Universal cell with necessary cell cable and the system operating manuals

### Service warrantee: 2 years on complete system

Optional accessories:

8 channel multiplexer (upgradeable to 32 channels or more)

Dr. Bob’s Cell kit with standard cell

TERMS & CONDITIONS

Commercial

1) Cost                  : 	Mention the price of the material in the FOB/FCA including inland freight value only. Please note that being a Govt. Organization we cannot make Advance Payment.

2) Insurance         :	Consignment should be insured through National Insurance               Company of India or is associate in your country.

3) Freight              :	The dispatch of the material should be through Air India preferably.

4) Agency             : 	Mention the   percentage   of   Indian   Agency  Commission payable  to

Commission              commission Indian Agent in INR and also mention the name of your   authorized Indian Agent/Representative, Pro-forma invoice without mentioning Indian Agency Commission will not be considered at our end.

5) Validity             : 	The validity of your pro forma invoice should be less than 180 days from the date of opening.

6) Warranty           : 	Mention the warranty period of equipment after satisfactory   installation. 10% Bank Guarantee is to be submitted by you/your Agent for the Equipments costing Rs.25 Lac & above

General Condition

- Zerox copies of latest price list applicable list may be enclosed applicable in Indian Market.

- Ensure that quoted price will not be higher to any other customers in India to whom this particular item have been sold particularly to govt. of India Organization.

- Sent a certificate that the equipment is of latest technology & will not be obsolete within 5 years.

- Ensure that all essential spares parts of this equipment will available in India with your Indian Agent as and when required.

- Provide the list of the users in India of the same equipment along with their contact / email address.

- Enclose a copy of agreement with your authorized Indian Agent.

FAX : 0091-172-2690056, 2690632		                      email : purchase@imtech.res.in

TEL  : 0091-0172-2690056, 2636680 - 94     	                          website : www.imtech.res.in