Top of Form

| No: PUR/2013-14/IND29622/KK | Date: 29/11/2013 |
| --- | --- |

| Sub : Request for Pro-forma Invoice Dear Sir This Research Institute is interested in purchasing of the items mentioned below. You are therefore requested to forward a pro-forma invoice along with your terms & conditions of supply & payment. Please provide a copy of the technical literature and the specifications of these items in a sealed envelope. Please read carefully the terms and conditions mentioned overleaf and submit your pro-forma invoice/quotation accordingly. |  |
| --- | --- |

| SNo. | Name of Item | Catalog No | Qty |
| --- | --- | --- | --- |
| 1 | Protein Purification System, 1 |  | 1 |

Important - Please mention our reference number on the envelop and address all correspondence to Director IMT Chandigarh only. - Please quote strictly as per our specifications. - Please attach compliance sheet - Proforma Invoice received after due date will not be considered under any circumstances. - Please note that your Quotation should reach us latest by 17/12/2013 opened on 18/12/2013 - Your Quotation must be duly stamped and reach directly to IMT from you only. If quotation is submitted by Indian representative/agent then they must have to produce a authority certificate of principal party for quotating the price Other wise it will be very difficult at our end to consider your quotation.

Yours faithfully,

Stores & Purchase Officer.

To

Protein Purification System – Multi wavelength detection and Fraction Collector

- Automatic, Bio-compatible, Integrated and Computer Controlled Protein Purification System with latest Control and Evaluation software.

- Pump:

  - Binary gradient pump.

  - Flow rate: 0.002-20ml/min or better; increment of 0.001 ml or better. Flow rate should cover the entire gradient and should not be isocratic only.

- UV Monitor with

  - Detect three or more wavelengths at a time in the entire wavelength range of 190-700. nm (or wider range) simultaneously without the change of lamp.

- Conductivity Monitor:

  - Conductivity reading range 1µS-999 µS/cm or better.

- Fraction collector:

- Max. Flow rate: 100ml/min or better.

- pH Stability range:  1 to 13 or better.

- Fraction Size: 0.1 to 250 ml in Volume mode and Time mode – with Drop Synchronization and Software controlled Accumulator.

- Capable of collecting fractions in 1.5ml microtube, tubes (12-13mm, 15-16mm and 18-20 mm diameter) and 24, 48, 96 well format microplates (up to 4 or more). Suitable racks to be supplied for tubes and microplate.

- Flow Diversion Valve:  For waste diversion from flow path to waste.

- Sample loops to be supplied: 200-250uL, 500uL, 1 ml, 2ml, 5 ml (two numbers each).

- Software should perform Real Time Control and Data Evaluation, Method Wizard for easy programming, Column Library, with Report generation option.

- OEM computer with Intel i7 based processor, 4GB RAM, 1 TB hard disk, 21'' TFT Screen, keyboard and mouse with latest compatible operating System.

- All the accessories including PEEK Tubing, ferrules and unions/connectors required to run the above should be supplied.

- System should be supplied with three years of warranty.

- Vendor should not quote a product which will be discontinued in next five years.

- Vendor should provide Purchase Order(s) of the quoted products sold to Indian Institutions.

- Vendor must ensure that any upgrade in the software or its features will be provided to us free of cost during the warranty period of the instrument.

Optional items:

- Optional racks for Fraction collector.

- Two in-line and/or external air sensors.

- I/O box for integrating third party detector.

- Vendor should quote for extended warranty and comprehensive AMC for next two years.

Bottom of Form