INSTITUTE OF MICROBIAL TECHNOLOGY (IMTECH),

(Council of Scientific & Industrial Research)

Sector 39-A, Chandigarh -160036 (India)

## Ph: 0091-172-2690056/2695225/6/7 ext. 331/334, fax:2 690585/2690632, 2636683

## e-mail: purchase@imtech.res.in

| No: PUR/2010-11/IND14499/KK | Date: 08/11/2010 |
| --- | --- |

Sub : Request for Pro-forma Invoice Dear Sir This Research Institute is interested in purchasing of the items mentioned below. You are therefore requested to forward a pro-forma invoice along with your terms & conditions of supply & payment. Please provide a copy of the technical literature and the specifications of these items in a sealed envelope. Please read carefully the terms and conditions mentioned overleaf and submit your pro-forma invoice/quotation accordingly.

| SNo. | Name of Item | Catalog No | Qty |
| --- | --- | --- | --- |
| 1 | gel doc system, 1 | 1234 | 2 |

Important : Quote in Two bid i.e. (1) Tech. Bid (2) Price Bid - Please mention our reference number on the envelop and address all correspondence to Director IMT Chandigarh only. - Please quote strictly as per our specifications. - Please attach compliance sheet - Proforma Invoice received after due date will not be considered under any circumstances. - Please note that your Quotation should reach us latest by 23/11/2010 opened on 24/11/2010 - Your Quotation must be duly stamped and reach directly to IMT from you only. If quotation is submitted by Indian representative/agent then they must have to produce a authority certificate of principal party for quotating the price Other wise it will be very difficult at our end to consider your quotation.

Yours faithfully,

Stores & Purchase Officer.

Specifications for Gel Documentation System

- 12-bit Scientific Grade, CCD Camera with Anti-reflective coating

- Motorized zoom lens: 8-48 mm

- At least 1.4 Megapixel Resolution

- Sensitivity up to 50 pg level or less

- Should have Flat Field Calibration for uniformity of light acquisition cross the sensor.

- Darkroom should be chemiluminescence imaging ready

- Should have atleast 3-position filter wheel for Multiplex Imaging

- Filter sets for capturing images of DNA/RNA gels stained with ethidium-bromide stained SYBR Green, coomassie-blue protein gels and Ponceau-S stained protein blots

- UV Transilluminator mounted on slide out tray: Dual wavelength without changing tubes (302 and 365nm), Dual Intensity (Hi/Lo) & EvenScan. Imaging area of 20 x 25 cm or more

- Operation of motorized zoom lens-focus, aperture and image size through computer software obviating the need for touching the camera or lens assembly

- Dual Epi-White Lights

- Independent Source for Transilluminated White Light; imaging area of 20 x 30 cm or more

- Software for acquisition, enhancement, editing, annotation, archiving, simultaneous display of multiple gels & analysis including features like 1-D multilane densitometry, 2-D spot densitometry, MW, Rf analysis, Microtiter plate, Eli-spot, Array & Dot Blot Analysis, Colony,  Zymogram gel analysis, Gel Scoring, Band matching, RFLP, RAPD, Fingerprinting, Dendrogram creation, options for Dice, Jacard, Pearson, Frequency, Similarity Coefficients, & Cluster analysis with multiple methods including Neighbor joining, UPGMA, WPGMA, Simple linkage, complete linkage, ward, median, centroid etc.,

- Should include at least two additional stand-alone copies of the analysis software

- Software for RFLP/Dendrogram analysis with capability of comparing lanes/bands across multiple gels (Database), performing phylogenetic analysis of the banding pattern data from RFLP, AFLP, RAPD, PFGE or any other DNA fingerprinting methods, Cluster analysis available through UPGMA Dendrogram/ Principal components analysis/ WPGMA/Simple Linkage/ Complete/Nei & Li method, Link-etal method etc., automatically scoring alleles in STR/microsatellite/VNTR experiments and flag samples as heterozygous or homozygous.

- Computer (Intel Pentium Dual Core Processor, 320GB HDD, 3 GB RAM, DVD Writer, 19” TFT Color Monitor, Keyboard, Mouse) with genuine windows operating system.

- Laser Jet P2015Dn printer

- Appropriate table and chair (Godrej make).

TERMS & CONDITIONS

Commercial

1) Cost                  : 	Mention the price of the material in the FOB/FCA including inland freight value only. Please note that being a Govt. Organization we cannot make Advance Payment.

2) Insurance         :	Consignment should be insured through National Insurance               Company of India or is associate in your country.

3) Freight              :	The dispatch of the material should be through Air India preferably.

4) Agency             : 	Mention the   percentage   of  Indian  Agency   Commission  payable  to

Commission                    commission Indian Agent in INR and also mention the name of your   authorized Indian Agent/Representative, Pro-forma invoice without mentioning Indian Agency Commission will not be considered at our end.

5) Validity             : 	The validity of your pro forma invoice should be less than 180 days from the date of opening.

6) Warranty           : 	Mention the warranty period of equipment after satisfactory   installation. 10% Bank Guarantee is to be submitted by you/your Agent for the Equipments costing Rs.25 Lac & above

General Condition

- Zerox copies of latest price list applicable list may be enclosed applicable in Indian Market.

- Ensure that quoted price will not be higher to any other customers in India to whom this particular item have been sold particularly to govt. of India Organization.

- Sent a certificate that the equipment is of latest technology & will not be obsolete within 5 years.

- Ensure that all essential spares parts of this equipment will available in India with your Indian Agent as and when required.

- Provide the list of the users in India of the same equipment along with their contact / email address.

- Enclose a copy of agreement with your authorized Indian Agent.

- 10% Performance Bank Guarantee must be submitted if order value beyond 25.00 lakhs.

FAX : 0091-172-2690056, 2690632			                                   email : purchase@imtech.res.in

TEL  : 0091-0172-2690056, 2636680 - 94     	                                            website : www.imtech.res.in