FT-IR Spectrophotometer  (Brucker Vertex-70)

The Bruker Vertex 70 is used to obtain an infrared spectrum of absorption, emission, photoconductivity or Raman scattering of a solid, liquid or gas.

Specifications:

*	Spectral range:			4000 to 350 cm-1

*	Beam splitter option: 		 KBr (Broadband): 10000 to 380 cm-1

*	Source: 				Internal ceramic source for mid, air cooled.

*	Detector:				 DigiTect detector system.

*	Spectral resolution:		 Better than 0.4 cm-1

*	wavenumber accuracy:		 Better than 0.01 cm-1

*	Photometric accuracy:		 Better than 0.1%T

*	Aperture ratio:			 f/205, nominal bean diameter 40mm (1.37”)

*	Rapid scan:				 15 spectra/ sec @ 1 cm-1

*	Sample compartment:		  2505(W) * 27(D) *16(H) cm

Accessories:

- High resolution scanner (0.16 ) cm-1

- Photovoltaic MCT detector

- Double column air driver

- Built-in casing for air deriver S112

- Bio-ATRI cell, horizontal ATR unit

- Bio-ATRcell ll for infrared proteomics

- AquaSpec cell