Transmission Electron Microscope (JEM – 2100CR)

The JEM-2100 electron microscope provides solutions for a wide range of problems in the fields of materials, nano electronics, and biological sciences.

Specifications:

- Resolution :

  - Point Resolution : 0.3 nm or better

  - Lattice Resolution : 0.14 nm or better

- EHT : 200 KV selectable at  80-100-120-160-200KV

- Filament :

  - Pre-centred single crystal Lab 6 High stability.

  - Automatic airlock and gun lift capability.

- Specimen Stage:

  - TYPE: Computer controlled Eccentric side entry goniometer at least 2 axes motorise (x & y) fine control for Z movement, motor drive and ± 70° tilt.

  - SPECIMEN MOVEMENTS :

    - X = 2 mm , motorised

    - Y = 2 mm , motorised

  - SPECIMEN DRIFT : <1nm/min at 0°C, <2.5 nm/min at 70°C, less than 2µ during 70°C.

- Imaging System :

  - Magnification Ranges : Total range 50x – 1,000,000x

  - Plate Camera : 6.5 cm x 9 cm plate size

  - 2K x 2K Post Column digital Camera

Features:

  - Single Crystal Lab 6 K type filament

  - Sheet Film Holder

  - Film Dessicator

  - RP-DP-SIP pumping

  - CM lens Unit

  - Motorized OL aperture

  - Gatan digital camera and software